| Credit Requirement: |  |  | Maximum 6 credits for providing the following listed security measures: i. Site is fenced; ii. Site is illuminated by building exterior lighting; iii. Provide a security control counter; iv. CCTV to monitor the building entrance(s); v. CCTV to monitor the elevators; vi. Frequent patrol of building and fence perimeter; vii. Access from adjacent building is inhibited by barriers; viii. Illuminance of footpaths is at least 50 lux at night time; ix. Alarm locally for opening and breakage; x. Meters are located in common areas; xi. Indoor parking; xii. Car park is fenced; and xiii. Others to be proposed by the Applicant. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Credit Attainable: |  |  |  |  | 6 |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |
| Checklist: |  |  |  |  |  |  |
| The following security measure(s) is/are provided: |  |  |  |  |  |  |
| ☐ |  | Site is fenced |  |  |  |  |
| ☐ |  | Site is illuminated by building exterior lighting |  |  |  |  |
| ☐ |  | Provide a security control counter |  |  |  |  |
| ☐ |  | CCTV to monitor the building entrance(s) |  |  |  |  |
| ☐ |  | CCTV to monitor the elevators |  |  |  |  |
| ☐ |  | Frequent patrol of building and fence perimeter |  |  |  |  |
| ☐ |  | Access from adjacent building is inhibited by barriers |  |  |  |  |
| ☐ |  | Illuminance of footpaths is at least 50 lux at night time |  |  |  |  |
| ☐ |  | Alarm locally for opening and breakage |  |  |  |  |
| ☐ |  | Meters are located in common areas |  |  |  |  |
| ☐ |  | Indoor parking |  |  |  |  |
| ☐ |  | Car park is fenced |  |  |  |  |
| ☐ |  | Others (please specify): |  |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |  |  |
| Enclosures: |  |  |  |  |  |  |
| ☐ | Summary table showing the location of the security provisions with narrative and architectural layout plan. |  |  |  |  |  |
| ☐ | CCTV catalogue and layout. |  |  |  |  |  |
| ☐ | Guard patrol route and patrol frequency. |  |  |  |  |  |
| ☐ | Record photographs. |  |  |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |  |  |