| Credit Requirement: |  | Maximum 2 Bonus credits for providing twin-tank system for: i. Fresh water supply system; and ii. Flushing water supply system. |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 2 Bonus |  |
| Credit(s) anticipated for this submission: |  |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |
| Enclosures: |  |  |  |  |
| ☐ | Plumbing schematic diagrams showing the provisions of the twin-tank system for fresh water and/or flush water. |  |  |  |
| ☐ | On-site photographs of the twin-tank system. |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |