| Credit Requirement: |  |  | Maximum 9 credits for installing the following listed water efficient devices. i. 1 credit for automatic infrared sensor water taps; ii. 2 credits for 80% of all water taps are certified under Voluntary Water Efficiency Labelling Scheme (WELS) Grade 2 or above, or fitted with flow controllers of WELS Grade 2 or above; or 4 credits for 80% of all water taps are certified under WELS Grade 1 or fitted with flow controllers of WELS Grade 1; iii. 2 credits for 80% of all showers for bathing are certified under WELS Grade 2 or above, or fitted with flow controllers of WELS Grade 2 or above; or 4 credits for 80% of all showers for bathing are certified under WELS Grade 1 or fitted with flow controllers of WELS Grade 1. |  |  |
| --- | --- | --- | --- | --- | --- |
| Credit Attainable: |  |  |  | 9 |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |
| Checklist: |  |  |  |  |  |
| The following water efficient devices are installed: |  |  |  |  |  |
| ☐ |  | Automatic infrared sensor water taps |  |  |  |
| ☐ |  | 80% of all water taps are certified under Voluntary Water Efficiency Labelling Scheme (WELS) Grade 2 or above, or fitted with flow controllers of WELS Grade 2 or above |  |  |  |
| ☐ |  | 80% of all water taps are certified under WELS Grade 1 or fitted with flow controllers of WELS Grade 1 |  |  |  |
| ☐ |  | 80% of all showers for bathing are certified under WELS Grade 2 or above, or fitted with flow controllers of WELS Grade 2 or above |  |  |  |
| ☐ |  | 80% of all showers for bathing are certified under WELS Grade 1 or fitted with flow controllers of WELS Grade 1 |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |  |
| Enclosures: |  |  |  |  |  |
| ☐ | Schedule of water taps and shower heads for bathing installed at the locations under the control of the Applicant. |  |  |  |  |
| ☐ | Manufacturer specification or catalogues of water taps and shower heads for bathing. |  |  |  |  |
| ☐ | Registry of the WELS products extracted from Water Supplies Department (WSD)’s website or registration certificate of WELS issued by WSD showing the WELS Grade of the water taps and shower for bathing. |  |  |  |  |
| ☐ | On-site photographs of the water fixtures. |  |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |  |