| Credit Requirement: |  | a) Cooling Tower Water Management Plan 1 Bonus credit for providing a cooling tower water management plan. b) Monitoring of Water Quality of Cooling Tower System 1 Bonus credit for conducting and monitoring the water quality parameters of cooling tower system on a routine and regular basis. c) Routine Inspection and Maintenance of Cooling Tower System 1 Bonus credit for conducting routine inspection of cooling tower system. 1 Bonus credit for conducting routine and prevention maintenance of cooling tower system. |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 4 Bonus |  |
| Credit(s) anticipated for this submission: |  |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |
| Enclosures: a) Cooling Tower Water Management Plan |  |  |  |  |
| ☐ | Cooling tower water management plan. |  |  |  |
| ☐ | Narrative and on-site photographs of the water treatment system. |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |
| b) Monitoring of Water Quality of Cooling Tower System |  |  |  |  |
| ☐ | Water sampling records within the past 12 months. |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |
| c) Routine Inspection and Maintenance of Cooling Tower System |  |  |  |  |
| ☐ | Inspection and maintenance records of cooling tower system in the past 12 months. |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |