| Credit Requirement: |  | 1 credit for demonstrating that the quality of fresh water at all fresh water tanks and the farthest point of each water tank meets WSD’s requirements. 1 credit for monitoring the quality of fresh water at least once a year for consecutive 3 years or providing undertaking letter, which indicate the above requirement. |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 2 |  |
| Credit(s) anticipated for this submission: |  |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |
| Enclosures: |  |  |  |  |
| ☐ | Plumbing schematic diagrams with indication of the sampling locations. |  |  |  |
| ☐ | Laboratory test report showing the compliance of water samples with the requirements in relevant WSD Circular Letters in force and the latest version of Quality Water Supply Scheme for Buildings – Fresh Water (Plus). |  |  |  |
| ☐ | Undertaking letter (if any). |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |