| Credit Requirement: |  | 1 credit for cleaning the fresh water tanks at least once every three months. 2 credits for inspecting the fresh water plumbing system at least once every three months and rectifying defects found during routine inspection. Maximum 3 credits can be achieved based on the participation of the Quality Water Supply Schemes for Buildings – Fresh Water (Plus). No. of Credit(s); 1; 2; 3. Type of Certificate; Blue; Silver; Gold. |
| --- | --- | --- |
| Credit Attainable: |  |  | 6 |  |
| Credit(s) anticipated for this submission: |  |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |
| Enclosures: |  |  |  |  |
| ☐ | Fresh water tanks cleaning records. |  |  |  |
| ☐ | Fresh water plumbing system inspection records. |  |  |  |
| ☐ | Defects rectification record (if any). |  |  |  |
| ☐ | Certificate of the Quality Water Supply Scheme for Buildings – Fresh Water (Plus) issued by WSD. |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |