| Credit Requirement: |  | Maximum 2 Bonus credits for installation of devices for detecting water leakage at the communal water supply system within the building lot. i. Underground buried pipes; and ii. Water pipes at all fresh water pump rooms. |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 2 Bonus |  |
| Credit(s) anticipated for this submission: |  |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |
| Enclosures: |  |  |  |  |
| ☐ | System description of the water leakage system. |  |  |  |
| ☐ | Plumbing schematic diagrams or layout drawings showing the provisions of the water leakage detectors. |  |  |  |
| ☐ | Equipment catalogues of the water leakage detectors. |  |  |  |
| ☐ | On-site photographs of the water leakage detectors (if any). |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |