| Credit Requirement: |  |  |  | 1 credit for conducting site illuminance measurement. Maximum 3 credits for achieving the prescribed lighting performance in each type of premises, regarding the illuminance and lighting quality as listed below. i. Maintained illuminance and illuminance uniformity; ii. Achieving the limiting unified glare rating; and iii. Light sources with an appropriate colour rendering index. 2 credits for fulfilling the above requirement in tenant’s area. i. 1 credit for assessing not less than 25% of area; and ii. 2 credits for assessing not less than 50% of area. 1 credit for providing automatic control of artificial lighting such as daylight sensors at perimeter zones and/or occupancy sensor. 1 credit for providing individual control of a small group of artificial lighting. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Credit Attainable: |  |  |  |  |  | 8 |  |
| Credit anticipated for this submission: |  |  |  |  |  |  |  |
| Checklist: |  |  |  |  |  |  |  |
| ☐ |  | Conducted site illuminance measurement |  |  |  |  |  |
| ☐ |  | The following prescribed lighting performance in each type of premises in respect of illuminance and lighting quality is achieved: |  |  |  |  |  |
|  |  | ☐ | Maintained illuminance and illuminance uniformity |  |  |  |  |  |
|  |  | ☐ | Achieving the limiting unified glare rating |  |  |  |  |  |
|  |  | ☐ | Light sources have an appropriate colour rendering index |  |  |  |  |  |
| ☐ |  | Tenant’s area also fulfils the above lighting performance requirement, with assessed area: |  |  |  |  |  |
|  |  | ☐ | not less than 25% |  | ☐ | not less than 50% |  |  |
| ☐ |  | Provided automatic control of artificial lighting |  |  |  |  |  |
| ☐ |  | Provided individual control of a small group of artificial lighting |  |  |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |  |  |  |
| Enclosures: a) Site Illuminance Measurement |  |  |  |  |  |  |  |
| ☐ | Measurement report. |  |  |  |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |  |  |  |
| b) Prescribed Lighting Performance |  |  |  |  |  |  |  |
| ☐ | The layout plan showing all the normally occupied areas. |  |  |  |  |  |  |
| ☐ | A summary table indicating the maintained illuminance, uniformity, unified glare rating and colour rendering index (by measurements or simulations) at each zone of the normally occupied areas. |  |  |  |  |  |  |
| ☐ | Catalogues or other supporting documents showing that the colour rendering index of the lighting system. |  |  |  |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |  |  |  |
| c) Automatic Control |  |  |  |  |  |  |  |
| ☐ | Drawings of the automatic control system. |  |  |  |  |  |  |
| ☐ | Photographs of the sensors. |  |  |  |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |  |  |  |
| d) Individual Control |  |  |  |  |  |  |  |
| ☐ | Drawings of the zoned control system. |  |  |  |  |  |  |
| ☐ | Photographs of the occupied spaces and the control point. |  |  |  |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |  |  |  |