| Credit Requirement: |  | a) Fresh Air Intakes 1 credit for demonstrating the fresh air intakes are free from potential pollutant sources. b) Ventilation for Normally Occupied Areas and Common Areas 2 credits for providing adequate ventilation for the normally occupied areas. i. 1 credit for 80% area compliance; and ii. 2 credits for 100% area compliance. 1 credit for providing adequate ventilation for 80% of common areas in a building. |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 4 |  |
| Credit anticipated for this submission: |  |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |
| Enclosures: a) Fresh Air Intakes |  |  |  |  |
| ☐ | Layouts showing the fresh air intake locations and the separation distances from potential pollutant sources. |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |
| b) Ventilation for Normally Occupied Areas and Common Areas |  |  |  |  |
| ☐ | A report identifying each of the ventilation zones, the space types, occupant densities, and the design criteria adopted. |  |  |  |
| ☐ | The report of methodology and results of calculations, simulations and/or measurements in the specified sample of spaces to demonstrate compliance with the assessment criteria. |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |