| Credit Requirement: |  |  | Maximum 3 credits for providing adequate ventilation for the following rooms/ areas with significant indoor pollution sources: i. Toilets; ii. Kitchens; iii. Printing/ Photocopier rooms; iv. Chemical storage areas; and v. Other relevant area. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Credit Attainable: |  |  |  |  | 3 |  |
| Credit anticipated for this submission: |  |  |  |  |  |  |
| Checklist: |  |  |  |  |  |  |
| Adequate ventilation system for the following room(s)/ area(s) is/are provided: |  |  |  |  |  |  |
| ☐ |  | Toilets |  |  |  |  |
| ☐ |  | Kitchens |  |  |  |  |
| ☐ |  | Printing/ Photocopier rooms |  |  |  |  |
| ☐ |  | Chemical storage areas |  |  |  |  |
| ☐ |  | Others (please specify): |  |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |  |  |
| Enclosures: |  |  |  |  |  |  |
| ☐ | A summary table detailing the design criteria and the ventilation system designs providing local exhaust. |  |  |  |  |  |
| ☐ | Drawings showing the locations with significant indoor pollution sources and associated ventilation system layouts. |  |  |  |  |  |
| ☐ | Calculation indicating that the exhaust rate is achieved. |  |  |  |  |  |
| ☐ | Photographs or drawings showing the location of the exhaust point. |  |  |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |  |  |