| Credit Requirement: |  | 1 credit for demonstrating the air temperature within the air-conditioned space is in the range of 24 – 26°C during April to October. 1 credit for demonstrating the relatively humidity within the air-conditioned space is in the range of 40 – 70% during April to October. 1 credit for demonstrating the air velocity within the air-conditioned space is <0.3 m/s. |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 3 |  |
| Credit anticipated for this submission: |  |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |
| Enclosures: |  |  |  |  |
| ☐ | Measurement report endorsed by a CIB. |  |  |  |
| ☐ | Drawings showing the location of measurement locations and ventilation system layouts. |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |