| Credit Requirement: |  |  |  | Maximum 9 credits for demonstrating compliance with appropriate criteria for indoor pollutant levels, for following parameters: i. Carbon Dioxide; ii. Carbon Monoxide; iii. Respirable Suspended Particulate; iv. Nitrogen Dioxide; v. Ozone; vi. Formaldehyde; vii. Total Volatile Organic Compounds; viii. Radon; and ix. Bacteria. 1 credit for obtaining Excellent Class for the IAQ Certification Scheme for Offices and Public Places. 1 credit for demonstrating the continuous participation in the ‘Indoor Air Quality Certification Scheme for Office and Public Place’ for past 3 consecutive years. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Credit Attainable: |  |  |  |  | 11 |  |
| Credit anticipated for this submission: |  |  |  |  |  |  |
| Checklist: |  |  |  |  |  |  |
| ☐ |  | The following parameters are demonstrated compliance with appropriate criteria: |  |  |  |  |  |
|  |  | ☐ | Carbon Dioxide |  |  |  |  |
|  |  | ☐ | Carbon Monoxide |  |  |  |  |
|  |  | ☐ | Respirable Suspended Particulate |  |  |  |  |
|  |  | ☐ | Nitrogen Dioxide |  |  |  |  |
|  |  | ☐ | Ozone |  |  |  |  |
|  |  | ☐ | Formaldehyde |  |  |  |  |
|  |  | ☐ | Total Volatile Organic Compounds |  |  |  |  |
|  |  | ☐ | Radon |  |  |  |  |
|  |  | ☐ | Bacteria |  |  |  |  |
| ☐ |  | Obtained Excellent Class for the IAQ Certification Scheme for Offices and Public Places |  |  |  |  |  |
| ☐ |  | Participated in the ‘Indoor Air Quality Certification Scheme for Office and Public Place’ for past 3 consecutive years. |  |  |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |  |  |
| Enclosures: |  |  |  |  |  |  |
| ☐ | Measurement report issued by a Hong Kong Accreditation Service (HKAS) accredited IAQ Certificate Issuing Body (CIB) with measurement methodology, number of sampling points required under IAQ Certification Scheme, measuring date, time and conditions of the interiors space, the measurement results and the calibration certificates of the measuring equipment. |  |  |  |  |  |
| Alternatively, |  |  |  |  |  |  |
| ☐ | A valid IAQ Certificate issued by EPD. (Note: it is not necessary to submit the first measurement results) |  |  |  |  |  |
| For the last two credit(s), |  |  |  |  |  |  |
| ☐ | Related IAQ Certificate(s) issued by EPD. |  |  |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |  |  |