| Project Name: |  | CIR Applied: | Y | N |
| --- | --- | --- | --- | --- |
| Project Code: |  | CIR Number: |  |  |

| Extent of Application | All Space Types |
| --- | --- |

| Objective | Ensure the building systems perform as designed and the interior spaces operate as design intended. |
| --- | --- |

| Credit Requirement | - Commissioning Specification or Clause 1 credit point for providing specification(s)/ clause(s) in contract documents that specify details of the commissioning requirements for building services systems and equipment being installed by the Applicant within the assessment boundary. - Commissioning Method Statement 1 credit point for providing commissioning method statement(s) that specify details of all the specified commissioning work for building services systems and equipment being installed by the Applicant within the assessment boundary. - Commissioning Report 1 credit point for providing commissioning report(s) for building services systems and equipment being installed by the Applicant within the assessment boundary. Alternatively, - 2 credit points for providing a contractual document confirming that no alterations to building services in the host building have been undertaken and no supplementary building services have been installed within the assessment boundary by the Applicant. |
| --- | --- |

| Credit Point(s) Attainable: | 3 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Credit Point(s) anticipated for this submission: |  | 1 |  | 2 |  | 3 |

COMPLIANCE

| Have alterations to host building services undertaken or supplementary building services installed by the Applicant |  |  |  |
| --- | --- | --- | --- |
| - Commissioning Specification or Clause |  |  |  |
|  | The commissioning specifications or clauses in contract documents cover the following building services systems: |  |  |
|  |  | Heating, ventilating, air conditioning and refrigeration (HVAC&R) systems and associated controls |  |
|  |  | Lighting systems and associated controls |  |
|  |  | Other systems being installed by the Applicant within the assessment boundary: |  |
|  | Roles and responsibilities of the contractors and/ or sub-contractors are informed |  |  |
| - Commissioning Method Statement |  |  |  |
|  | Commissioning Authority (CxA) fulfilling the following requirements is appointed: |  |  |
|  |  | Chartered Engineer/ Registered Professional Engineer (R.P.E.)/ Member of HKIE (under the discipline of |  |
|  |  |  | ) |
|  |  | With at least two (2) similar experience in buildings or fit-out projects |  |
|  | Include the following content: |  |  |
|  |  | Systems to be commissioned |  |
|  |  | Description of the commissioning team, including team members, roles and responsibilities |  |
|  |  | Functional test procedures for all applicable building services systems |  |
|  |  | Verification of system performance |  |
|  |  | Reporting deficiencies and the resolution process |  |
|  |  | Acceptance of all applicable systems |  |
| - Commissioning Report |  |  |  |
|  | All the approved checklists and endorsement from the CxA are provided |  |  |
|  | The following contents are included: |  |  |
|  |  | List of participants and their respective roles |  |
|  |  | List of systems being commissioned |  |
|  |  | Functional performance tests including date and time of test, individuals presence during testing, visual inspection observations, sensor checks, device checks, operating mode tests and result |  |
|  |  | All identified outstanding deficiencies during or as a result of commissioning activities |  |
| No alterations to building services in the host building undertaken and no supplementary building services installed by the Applicant |  |  |  |
|  | Contractual document confirming that no alterations to building services in the host building have been undertaken and no supplementary building services have been installed within the assessment boundary by the Applicant is provided |  |  |

SUBMITTALS

| Supporting Documents Please provide softcopies with filename prefix as indicated in the leftmost column below. |  |  |
| --- | --- | --- |
| IDCM-01-05_00 | BEAM Plus Interiors submission form for IDCM-01-05 |  |
| IDCM-01-05_01 | Commissioning specifications/ clause specifying the commissioning requirements of each applicable system and equipment |  |
| IDCM-01-05_02 | Organisation chart of the project team with CxA’s involvement |  |
| IDCM-01-05_03 | CV of the CxA to demonstrate his/her adequate expertise |  |
| IDCM-01-05_04 | Endorsed commissioning method statement to demonstrate all tasks in part (b) |  |
| IDCM-01-05_05 | Endorsed commissioning report to demonstrate all commissioning tasks fulfilling part (c) |  |
| IDCM-01-05_06 | Undertaking letter from the project's CxA confirming his/her involvement before the start of the schematic design stage, duties and responsibilities of the testing & commissioning process |  |
| IDCM-01-05_07 | Contractual document confirming no alternations to the building services system have been undertaken in the host building |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)