| Project Name: |  | CIR Applied: | Y | N |
| --- | --- | --- | --- | --- |
| Project Code: |  | CIR Number: |  |  |

| Extent of Application: | All Space Types |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Objectives: | Reduce the potential of indoor air quality problems resulting from fit-out activities, for the benefits of workers, and adjacent neighbours. |  |  |  |  |
| Credit Requirement: | 1 credit point for implementing a Construction IAQ Management Plan. 1 credit point for undertaking flush-out and replacement of all filters that are under the Applicant’s control within the normally occupied assessment boundary prior to occupancy. Alternatively, - 1 credit point for providing an IAQ (Good Class) report of the assessment boundary endorsed by an accredited IAQ Certificate Issuing Body (CIB). |  |  |  |  |
| Credit Point(s) Attainable: |  | 2 |  |  |  |  |
| Credit Point(s) anticipated for this submission: |  |  | 1 |  | 2 |  |

| COMPLIANCE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | A Construction IAQ Management Plan containing the following control measures with details is prepared |  |  |  |  |
|  |  | Heating, ventilating, air conditioning and refrigeration (HVAC&R) system and components protection |  |  |  |
|  |  | Contaminant source control |  |  |  |
|  |  | Interruption of moisture/ pollutant pathways |  |  |  |
|  |  | Housekeeping |  |  |  |
|  |  | Scheduling |  |  |  |
|  | The Summary Report is endorsed by the Construction BEAM Professionals (BEAM Pro)/ BEAM Affiliates (BAs) |  |  |  |  |
|  | “Flush out” with new filter media is carried out prior to occupancy |  |  |  |  |
|  | Date of “flush-out”: |  |  | Date of occupancy: |  |
|  | Appropriate filter media is replaced after “flush-out” |  |  |  |  |
|  | The “flush-out” report is endorsed by the Construction BEAM Pro/ BAs |  |  |  |  |
| Primary air unit/ air handling unit/ fresh air unit is not under the Applicant's control |  |  |  |  |  |
|  | Air measurement conforms to IAQ Certification Scheme Good Class level |  |  |  |  |
|  | IAQ report is endorsed by an accredited IAQ Certificate Issuing Body |  |  |  |  |

SUBMITTALS

| Supporting Documents Please provide softcopies with filename prefix as indicated in the leftmost column below. |  |  |
| --- | --- | --- |
| IDCM-02-04_00 | BEAM Plus Interiors submission form for IDCM-02-04 |  |
| IDCM-02-04_01 | Endorsed construction IAQ management plan |  |
| IDCM-02-04_02 | Endorsed summary report with photo record(s) |  |
| IDCM-02-04_03 | Endorsed report on flush-out/ filter replacement |  |
| IDCM-02-04_04 | HVAC drawings |  |
| IDCM-02-04_05 | IAQ measurement report endorsed by an accredited IAQ CIB |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)