| Project Name: |  | CIR Applied: | Y | N |
| --- | --- | --- | --- | --- |
| Project Code: |  | CIR Number: |  |  |

| Extent of Application: | All Space Types |
| --- | --- |

| Objectives: | Encourage the provision of a fully documented operations and maintenance manual to enable facility management to implement the design intent and a fully documented energy management manual containing instructions that enable systems to operate at a high level of energy efficiency. |
| --- | --- |

| Credit Requirement: | - Operation and Maintenance Manual Development and Storage 1 credit point for preparing operation and maintenance (O&M) manuals for building services systems and equipment, which are installed by the Applicant within the assessment boundary and demonstrating that the manuals have been stored in a local device drive/ an electronic platform. - Stakeholder Orientation 1 credit point for organising an orientation tour for the end users of assessment boundary by suitable person for demonstrating the appropriate use of the maintenance facilities. |
| --- | --- |

| Credit Point(s) Attainable | 2 |  |  |  |
| --- | --- | --- | --- | --- |
| Credit Point(s) anticipated for this submission: |  | 1 |  | 2 |

| COMPLIANCE |  |  |  |  |
| --- | --- | --- | --- | --- |
| - Operation and Maintenance Manual Development and Storage |  |  |  |  |
|  | O&M Manual covers the following systems: |  |  |  |
|  |  | Heating, ventilating, air conditioning and refrigeration (HVAC&R) systems and associated controls |  |  |
|  |  | Lighting systems and associated controls |  |  |
|  |  | Other systems being installed by the Applicant within the assessment boundary |  |  |
|  | O&M Manual is endorsed by Project BEAM Pro/ BAs |  |  |  |
|  | O&M Manual is stored in a local device drive or an electronic platform |  |  |  |
|  | In an event that the host building operator provides maintenance service for the entire Building Services installation (excluding Fire Services), information including the contract, scope of work, programme, schedule, and maintenance method statements is submitted |  |  |  |
| - Stakeholder Orientation |  |  |  |  |
|  | The guided orientation tour covers the following items: |  |  |  |
|  |  | Typical operation examples of each system |  |  |
|  |  | Start-up and shutdown procedures |  |  |
|  |  | Operation under all specified modes of control and sequences of operation |  |  |
|  |  | Procedures under emergency or abnormal conditions |  |  |
|  | Date(s) of orientation tour: |  |  |  |
|  | Participating parties (Company, Role e.g. contractor): |  |  |  |

SUBMITTALS

| Supporting Documents Please provide softcopies with filename prefix as indicated in the leftmost column below. |  |  |
| --- | --- | --- |
| IDCM-02-06_00 | BEAM Plus Interiors submission form for IDCM-02-06 |  |
| IDCM-02-06_01 | Endorsed digital operation and maintenance manual |  |
| IDCM-02-06_02 | Photo record(s) |  |
| IDCM-02-06_03 | Record of attendance of the orientation tours |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)