| Project Name: |  | CIR Applied: | Y | N |
| --- | --- | --- | --- | --- |
| Project Code: |  | CIR Number: |  |  |

| Extent of Application: | All Space Types |
| --- | --- |
| Objectives: | Encourage the increased use of modular and standardised components in interior design in order to enhance buildability and to reduce waste. |
| Credit Requirement: | 1 credit point for preparing a narrative that demonstrates a proactive approach in designing modular elements of the newly installed major elements and modules within the assessment boundary. 1 additional credit point for designing modular elements which contribute 25% or more of the newly installed major elements and modules within the assessment boundary. Items to be included in the assessment are shown in below table: Items to Be Included in the Modular Elements Assessment (if applicable). Partition; Wall; Ceiling. Door; Raised floor; Carpet tile. Total quantity of modular design (%) of each of the above items should be calculated by below equation: Modular Design %=Modular Elements Newly Installed Items ×100% |

| Credit Point(s) Attainable: | 2 |  |  |  |
| --- | --- | --- | --- | --- |
| Credit Point(s) anticipated for this submission: |  | 1 |  | 2 |

| COMPLIANCE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | A proactive approach is adopted for designing modular elements of the newly installed major elements and modules |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Modular and standardized design is demonstrated in the following newly installed major elements and modules: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Partition |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Wall |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Ceiling |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Door |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Raised floor |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Carpet tile |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Consistent unit is used throughout the assessment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Unit: |  |  |  | Mass |  | Cost |  |  | Volume |  |  | Surface area |  |  |
|  | Amount of newly installed items: |  |  |  |  |  |  |  |  |  | Amount of modular elements: |  |  |  |  |
|  | Percentage of modular design of newly installed major elements and modules is: |  |  |  |  |  |  |  |  |  |  |  |  |  | % |

SUBMITTALS

| Supporting Documents Please provide softcopies with filename prefix as indicated in the leftmost column below. |  |  |
| --- | --- | --- |
| MW-01-02_00 | BEAM Plus Interiors submission form for MW-01-02 | ¨ |
| MW-01-02_01 | A narrative with drawings or photo record(s) or other information that demonstrates the modular design approach |  |
| MW-01-02_02 | Calculation showing the percentage of major elements and modules that are prescribed modular and standardised design elements and modules |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)