| Project Name: |  |  |  |  |  |  | CIR Applied: |  |  |  | Y |  | N |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Code: |  |  |  |  |  |  | CIR Number: |  |  |  |  |  |  |  |  |
| Extent of Application: | All Space Types |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Objectives: | Reduce the consumption of non-renewable energy and the associated carbon dioxide (CO2) emissions to the atmosphere. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Credit Requirement: | Maximum 14 credit points for using energy efficient systems and controls that reduce carbon emissions from energy use by Heating, ventilating, air conditioning and refrigeration (HVAC&R) and/ or lighting systems. Item; Credit Point(s). General. i; Apply energy saving reminders at common spaces/ near switches of all building services systems/ appliances; 1. ii; Arrange routine cleaning schedule for equipment/ systems to ensure operational efficiency of equipment/ systems; 1. HVAC&R. iii; Provide a reduction of Coefficient of Performance (COP) by: 2%, 4%, 6%, 8% or 10% respectively (compared to the latest Building Energy Code in the same category) for split-type and window-type air conditioners; 1 to 5. iv; Provide an appropriate zoning and thermostat distribution; 1. v; Provide occupancy sensors and/or programmable timers for controlling HVACR operation; 2. vi; Provide at least one (1) ceiling or wall mounted fan for normally occupied spaces within the assessment boundary to increase air circulation hence reducing demand for air conditioning; 1. vii; Provide variable speed drive fan coil units (FCU) or high efficiency motors or variable air volume (VAV) box for normally occupied spaces within the assessment boundary; 3. viii; Provide openable windows for mixed mode/ natural ventilation; 1. ix; Install at least 30% or 50% of total window areas with direct access to daylight with solar window films (windows that are heavily shaded or do not have a direct sky view are excluded); 2 or 4. x; Install air curtain at the main entrance of the premises; 1. xi; Install heat recovery system; 3. Lighting. xii; Provide a reduction of Lighting Power Density (LPD) by: 2%, 4%, 6%, 8% or 10% respectively (compared to the latest Building Energy Code in the same category). Decorative lighting is excluded; 1 to 5. xiii; Provide appropriate zoning and manual control distribution. Switches are clearly labelled and easily accessible by the occupants; 1. xiv; Provide daylight dimming/ separate lighting controls of all areas accessible to daylight; 2. xv; Provide occupancy sensors/ timer controls of all public areas such as corridors, toilets, etc.; 2. xvi; Provide master switch (main switch) within the assessment boundary for the occupants to switch off all the lighting systems before leaving (Room for single user could be exempted from master switch requirement with substantiation); 1. xvii; Apply dual circuit with a timer at retail shop front/ hotel signboards and non-essential lighting in order to have a separate control for switching off these lighting after operating hours, or no later than 23:00 hours; 1. xviii; Provide task lighting for all workstations within the assessment boundary; 1. Small Power. xix; Provide a smart power strip or smart socket, which is capable of pre-setting a schedule or creating countdown timer lists for connected electrical appliances to automatically manage devices for at least 50% of power socket outlet (irrespective of number of gang) within the assessment boundary; 2. |
| Credit Point(s) Attainable: |  | 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Credit Point(s) anticipated for this submission: |  |  | 1 |  | 2 |  |  | 3 |  | 4 |  |  |  | 5 |  |
|  |  |  | 6 |  | 7 |  |  | 8 |  | 9 |  |  |  | 10 |  |
|  |  |  | 11 |  | 12 |  |  | 13 |  | 14 |  |  |  |  |  |

| COMPLIANCE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| General: |  |  |  |  |  |
|  | All submittals are endorsed by a Registered Energy Assessor (REA). |  |  |  |  |
|  | Energy saving reminders are applied at the common spaces/ near switches of all building services systems/ appliances |  |  |  |  |
|  | Routine cleaning schedule for equipment/ systems is set up |  |  |  |  |
| HVAC&R: |  |  |  |  |  |
|  | Increment of COP for split-type and window-type air conditioners by certain percentage is achieved |  |  |  |  |
|  | Please specify the percentage: |  |  | % |  |
|  | Appropriate zoning and thermostat distribution are set up |  |  |  |  |
|  | Occupancy sensors and/ or programmable times for controlling HVACR operation are installed and in use |  |  |  |  |
|  | At least 1 ceiling or wall mounted fan for normally occupied spaces is installed |  |  |  |  |
|  | Variable speed drive fan coil units or high efficiency motors or VAV box for normally occupied spaces are installed |  |  |  |  |
|  | Openable windows for mixed mode/natural ventilation are provided |  |  |  |  |
|  | Solar window films are applied to certain percentage of window with direct access to daylight |  |  |  |  |
|  | Please specify the percentage: |  |  | % |  |
|  | Air curtain is installed at the main entrance of the premises |  |  |  |  |
|  | Heat recovery system is installed |  |  |  |  |
| Lighting: |  |  |  |  |  |
|  | Reduction of LPD by certain percentage is achieved |  |  |  |  |
|  | Please specify the percentage: |  |  |  | % |
|  | Appropriate zoning and manual control distribution are set up. Switches are clearly labelled and easily accessible by the occupants |  |  |  |  |
|  | Daylight dimming/ separate lighting controls of all areas accessible to daylight are applied |  |  |  |  |
|  | Occupancy sensors/ timer controls of all public areas such as corridors, toilets are installed and in use |  |  |  |  |
|  | Master switch (main switch) for switching off all the lighting systems and non-essential power before leaving is provided |  |  |  |  |
|  | Dual circuit with a timer at retail shop front/ hotel signboards and non-essential lighting in order to have a separate control for switching off these lighting after operating hours, or no later than 23:00 hours |  |  |  |  |
|  | Task lighting is provided for all workstations |  |  |  |  |
| Small Power: |  |  |  |  |  |
|  | A smart power strip or smart socket, which is capable of pre-setting a schedule or creating countdown timer lists for connected electrical appliances to automatically manage devices for at least 50% of power socket outlet is provided |  |  |  |  |
|  | Please specify the percentage: |  |  |  | % |

SUBMITTALS

| Supporting Documents Please provide below softcopies with filename prefix as indicated on leftmost column. |  |  |
| --- | --- | --- |
| EU-01-02_00 | BEAM Plus Interiors submission form for EU-01-02 |  |
| EU-01-02_01 | Photo record(s) showing application of energy saving reminders at the common spaces/ near switches of all building services systems/ appliances |  |
| EU-01-02_02 | Routine cleaning schedule for equipment/ systems |  |
| EU-01-02_03 | Catalogues of air-conditioning equipment highlighting model and COP and photo record(s) of the overview and nameplate of installed air-conditioning equipment that show model and COP |  |
| EU-01-02_04 | MVAC drawings highlighting all thermostats and their coverage area/ zone |  |
| EU-01-02_05 | Project brief or declaration letter from project owner for thermal zoning | ¨ |
| EU-01-02_06 | Catalogues of occupancy sensors and/or programmable timers and control schematic highlighting the control logic of sensors and/ or timers |  |
| EU-01-02_07 | Catalogue and photo record(s) of ceiling or wall mounted fans |  |
| EU-01-02_08 | Catalogues, MVAC drawings and photo record(s) of variable speed drive FCU or high efficiency motors or VAV box |  |
| EU-01-02_09 | Elevation drawings and photo record(s) of openable windows |  |
| EU-01-02_10 | Calculation showing the percentage of applicable total window areas with solar window film, elevation drawings highlighting extent of application of solar window films, catalogue and test report of solar window films and photo record(s) | ¨ |
| EU-01-02_11 | Catalogues and photo record(s) of air curtains |  |
| EU-01-02_12 | Catalogues and photo record(s) of heat recovery system |  |
| EU-01-02_13 | Calculation showing a reduction of LPD, supported by lighting layout, lighting catalogue and photo record(s) |  |
| EU-01-02_14 | Lighting drawings highlighting all lighting switches and their coverage area/ zone and photo record(s) |  |
| EU-01-02_15 | Catalogues and lighting drawings highlighting all daylight dimming/ separate lighting controls of all areas accessible to daylight, their coverage area/ zone and photo record(s) | ¨ |
| EU-01-02_16 | Project brief or declaration letter from project owner for lighting zoning |  |
| EU-01-02_17 | Catalogues and lighting drawings highlighting occupancy sensors / timer controls of all public spaces such as corridors, toilets, etc., their coverage area/ zone and photo record(s) |  |
| EU-01-02_18 | Electrical drawings highlighting master switch (main switch) and photo record(s) |  |
| EU-01-02_19 | Electrical drawings highlighting dual circuit with timer and photo record(s) |  |
| EU-01-02_20 | Lighting drawings highlighting all task lighting and photo record(s) |  |
| EU-01-02_21 | Calculation showing the percentage of power socket outlet with smart power strip or smart socket, electrical drawings power socket outlet with smart power strip or smart socket, catalogue(s) of smart power strip or smart socket and photo record(s) |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)