| Project Name: |  |  | CIR Applied: |  |  | Y |  | N |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Code: |  |  | CIR Number: |  |  |  |  |  |  |
| Extent of Application: | All Space Types |  |  |  |  |  |  |  |  |
| Objectives: | Enable operators to measure, monitor and develop measures to improve the performance of the engineering systems within the interior spaces. |  |  |  |  |  |  |  |  |
| Credit Requirement: | - Real-time monitoring system 1 credit point for providing electrical meters for lighting system to establish a real-time energy data monitoring system. 1 to 2 additional Bonus credit points for providing electrical meters for any one (1)/ two (2) of the following engineering systems to establish a real-time energy data monitoring system. Engineering systems: - Air-conditioner and mechanical ventilation energy consumption; - Small power energy consumption; or - Other proposed by the Applicant. - Data Collection Record 1 credit point for demonstrating that the energy meters can collect and store the energy consumption data on an hourly basis for at least 1 year. |  |  |  |  |  |  |  |  |
| Credit Point(s) Attainable: |  | 2 + 2 Bonus |  |  |  |  |  |  |  |
| Credit Point(s) anticipated for this submission: |  | (a) Real-time monitoring system |  |  | 1 |  |  |  |  |
|  |  |  |  |  | 1 + 1 Bonus |  |  |  |  |
|  |  |  |  |  | 1 + 2 Bonus |  |  |  |  |
|  |  | (b) Data Collection Record |  |  | 1 |  |  |  |  |
|  |  | Total: |  |  | Credit Point(s) + |  |  |  | Bonus |

| COMPLIANCE |  |  |
| --- | --- | --- |
| (a) Real-time monitoring system |  |  |  |
|  | Real-time electrical meters are provided for lighting system |  |  |
|  | Independent real-time electrical meters are provided for the following engineering systems |  |  |
|  |  | Air-conditioner and mechanical ventilation energy consumption |  |
|  |  | Small power energy consumption |  |
|  |  | Other proposed by the Applicant |  |
|  | Electricity metering complies with BS EN accuracy class 1 or equivalent |  |  |
|  | Sensors for performance sub-metering meet the minimum accuracy requirements in ASHRAE Guideline 13 or equivalent |  |  |
| (b) Data Collection Record |  |  |  |
|  | Hourly energy consumption data can be collected and stored for at least 1 year by energy meters |  |  |

SUBMITTALS

| Supporting Documents Please provide below softcopies with filename prefix as indicated on leftmost column. |  |  |
| --- | --- | --- |
| (a) Real-time monitoring system |  |  |
| EU-01-04a_00 | BEAM Plus Interiors submission form for EU-01-04a | ¨ |
| EU-01-04a_01 | Electrical schematics highlighting all locations of metering |  |
| EU-01-04a_02 | Catalogues of all metering and measurement equipment |  |
| EU-01-04a_03 | Photo record(s) of the electrical meters |  |
| (b) Data Collection Record |  |  |
| EU-01-04b_00 | BI submission form for EU-01-04b |  |
| EU-01-04b_01 | Energy consumption data |  |
| EU-01-04b_02 | Electrical schematics highlighting BMS or data collection facilities |  |
| EU-01-04b_03 | Catalogue(s) of BMS or data collection facilities | ¨ |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)