| Project Name: |  |  |  | CIR Applied: | Y | N |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Project Code: |  |  |  | CIR Number: |  |  |  |
| Extent of Application: | All Space Types |  |  |  |  |  |  |
| Objectives: | Maximise energy efficiency, optimise comfort and productivity via smart devices |  |  |  |  |  |  |
| Credit Requirement: | 1 Bonus credit point for adopting network of smart devices with at least two (2) of the following sensors, which are capable of connecting to the internet, gathering information from their environments and exchanging data with other smart devices for analysis to maximise energy efficiency, optimise comfort and productivity of the interior spaces. Sensors for smart control. Occupancy/ Motion/ light sensor for lighting control; Temperature and humidity sensor for AC control. Air quality sensor for MVAC control; Light sensor for curtain control. Others proposed by the Applicant. |
| Credit Point(s) Attainable: |  | 1 Bonus |  |  |  |  |  |
| Credit Point(s) anticipated for this submission: |  |  | 1 Bonus |  |  |  |  |

| COMPLIANCE |  |  |
| --- | --- | --- |
|  | The sensors can connect to the internet, gather information from the environments and exchange data with other smart devices for analysis to maximise energy efficiency, optimise comfort and productivity of the interior spaces |  |  |
|  | The following sensors that adopting network for smart control are provided in this project |  |  |
|  |  | Occupancy/ Motion/ light sensor for lighting control |  |
|  |  | Temperature and humidity sensor for AC control |  |
|  |  | Air quality sensor for MVAC control |  |
|  |  | Light sensor for curtain control |  |
|  |  | Others proposed by the Applicant (Please specify below) |  |

SUBMITTALS

| Supporting Documents Please provide below softcopies with filename prefix as indicated on leftmost column. |  |  |
| --- | --- | --- |
| EU-04-02_00 | BEAM Plus Interiors submission form for EU-04-02 |  |
| EU-04-02_01 | Drawings showing details and location of network of smart devices with sensors |  |
| EU-04-02_02 | Catalogue(s)/ Information of the network of smart devices with sensors |  |
| EU-04-02_03 | Photo record(s) showing the provision(s) |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)