| Project Name: |  |  |  |  |  | CIR Applied: |  | Y |  | N |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Code: |  |  |  |  |  | CIR Number: |  |  |  |  |
| Extent of Application: | All Space Types |  |  |  |  |  |  |  |  |  |
| Objectives: | Reduce the consumption of potable water through the application of water saving devices that have proven performance and reliability. |  |  |  |  |  |  |  |  |  |
| Credit Requirement: | 1 to 3 credit points for achieving annual water saving of at least 20%/ 25%/ 30% by using water efficient flow devices with reference to BI V2.0 baseline. Alternatively, - 3 credit points for achieving Grade 1 under Water Supplies Department (WSD)'s Water Efficiency Labelling Scheme (WELS) for all potable water devices within the assessment boundary; or - 3 credit points for achieving Grade 1 under WSD's WELS for all potable water devices on the same floor of the assessment boundary; or - 3 credit points for installing aerators of Grade 1 under the WSD's WELS to restrict the water flow rate of basin mixers, kitchen taps and shower heads (if applicable) on the same floor of the assessment boundary; or - 1 credit point for infrared sensor faucets installed on the same floor of the assessment boundary to restrict the water flow of basin mixers and kitchen taps and shower heads (if applicable). |  |  |  |  |  |  |  |  |  |
| Credit Point(s) Attainable: |  | 3 |  |  |  |  |  |  |  |  |
| Credit Point(s) anticipated for this submission: |  |  | 1 |  | 2 |  |  |  | 3 |  |

| COMPLIANCE |  |  |  |
| --- | --- | --- | --- |
|  | Schedule of all types of fixtures with location and quantity is provided |  |  |  |
|  | Calculation showing annual water saving by using water efficient flow devices with reference to BEAM Plus baseline by certain percentage is achieved |  |  |  |
|  | Please specify the percentage: |  | % |  |
|  | All potable water devices within the assessment boundary achieve Grade 1 under the WSD's WELS |  |  |  |
|  | All potable water devices on the same floor of the assessment boundary achieve Grade 1 under the WSD's WELS |  |  |  |
|  | Aerators of Grade 1 under the WSD's WELS have been installed to restrict the water flow in basin mixers, kitchen taps and shower heads (if applicable) on the same floor of the assessment boundary |  |  |  |
|  | Infrared sensor faucets have been installed to restrict the water flow in basin mixers, kitchen taps and shower heads on the same floor of the assessment boundary |  |  |  |

SUBMITTALS

| Supporting Documents Please provide below softcopies with filename prefix as indicated on leftmost column. |  |  |
| --- | --- | --- |
| WU-01-01_00 | BEAM Plus Interiors submission form for WU-01-01 | ¨ |
| WU-01-01_01 | Sanitary fixture schedule |  |
| WU-01-01_02 | Layout drawing(s) |  |
| WU-01-01_03 | Occupancy schedule |  |
| WU-01-01_04 | Annual water saving calculation |  |
| WU-01-01_05 | Grade 1 WELS label(s) of potable water devices/ aerators | ¨ |
| WU-01-01_06 | Photo record(s) of potable water devices/ aerators/ infrared sensor | ¨ |
| WU-01-01_07 | Catalogues(s) of infrared sensor | ¨ |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)