| Project Name: |  |  |  | CIR Applied: | Y | N |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Project Code: |  |  |  | CIR Number: |  |  |  |
| Extent of Application: | All Space Types |  |  |  |  |  |  |
| Objectives: | Identify water leakage once detected for the arrangement of maintenance work. |  |  |  |  |  |  |
| Credit Requirement: | Scenario 1: Assessment boundary with potable water supply: 1 credit point for installing water leakage detection system in the covered pipework near all water points. Scenario 2: Assessment boundary without potable water supply and with piping adjacent to the boundary: 1 credit point for not installing built-in furniture so that seepage of water or water from the adjacent interior spaces can be easily detected. Scenario 3: Assessment boundary without potable water supply and no piping adjacent to the boundary: 1 credit point for project that does not have potable water supply nor piping adjacent to the assessment boundary. |  |  |  |  |  |  |
| Credit Point(s) Attainable: |  | 1 |  |  |  |  |  |
| Credit Point(s) anticipated for this submission: |  |  | 1 |  |  |  |  |

| COMPLIANCE |  |
| --- | --- |
| Scenario 1: Assessment boundary with potable water supply |  |  |
|  | Water leakage detection system is installed in the covered pipework near all water points |  |
|  | The detection system has the capability to automatically alert the operator or the security guard |  |
| Scenario 2: Assessment boundary without potable water supply and with piping adjacent to the boundary |  |  |
|  | No built-in furniture is installed for easy detection of seepage of water or water from the adjacent interior spaces |  |
| Scenario 3: Assessment boundary without potable water supply and no piping adjacent to the boundary |  |  |
|  | No potable water or piping is provided adjacent to the assessment boundary |  |

SUBMITTALS

| Supporting Documents Please provide below softcopies with filename prefix as indicated on leftmost column. |  |  |
| --- | --- | --- |
| WU-01-04_00 | BEAM Plus Interior submission form for WU-01-04 |  |
| WU-01-04_01 | Layout drawing(s) |  |
| WU-01-04_02 | Catalogue(s) |  |
| WU-01-04_03 | Dated photo record(s) |  |
| WU-01-04_04 | Confirmation letter |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)