| Project Name: |  |  |  | CIR Applied: | Y | N |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Project Code: |  |  |  | CIR Number: |  |  |  |
| Extent of Application: | All Space Types |  |  |  |  |  |  |
| Objectives: | Ensure that a minimum quality and quantity of outdoor air is supplied to spaces in the project in order to support the well-being and comfort of the occupants. |  |  |  |  |  |  |
| Credit Requirement: | 1 credit point for demonstrating that the normally occupied space has met the requirements of corresponding air changes per hour (ACH) of air ventilation rate. Alternatively, - 1 credit point for demonstrating that the CO2 level within the normally occupied space can comply with Good Class requirements as stipulated in IAQ Certification Scheme; or - 1 credit point for demonstrating that the project is in compliance with the minimum ventilation rate stipulated in ASHRAE Standard 62.1-2019 with respective to its designed ventilation mode. |  |  |  |  |  |  |
| Credit Point(s) Attainable: |  | 1 |  |  |  |  |  |
| Credit Point(s) anticipated for this submission: |  |  | 1 |  |  |  |  |

| COMPLIANCE |  |  |  |
| --- | --- | --- | --- |
|  | Air ventilation rate(s) for project space(s) fulfil(s) the BEAM Plus requirement (Please specify below) |  |  |  |
|  | Project space type | Calculated air ventilation rate (ACH) |  |  |
|  | Indoor carbon dioxide measured level conforms to IAQ Certification Scheme Good Class level |  |  |  |
|  | Minimum ventilation rate stipulated in ASHRAE Standard 62.1-2019 is achieved in all normally occupied spaces |  |  |  |

SUBMITTALS

| Supporting Documents Please provide below softcopies with filename prefix as indicated on leftmost column. |  |  |
| --- | --- | --- |
| HWB-00-01_00 | BEAM Plus Interiors submission form for HWB-00-01 |  |
| HWB-00-01_01 | Narrative demonstrating compliance with the minimum requirements of corresponding ACH of air ventilation rate | ¨ |
| HWB-00-01_02 | Layout plan showing the seating arrangement | ¨ |
| HWB-00-01_03 | HVAC drawing |  |
| HWB-00-01_04 | HVAC schedule & catalogue(s) |  |
| HWB-00-01_05 | IAQ measurement report endorsed by an accredited IAQ CIB |  |
| HWB-00-01_06 | Report demonstrating compliance with the minimum ventilation rate stipulated in ASHRAE Standard 62.1-2019 with respective to its designed ventilation mode in normally occupied spaces |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)