| Project Name: |  | CIR Applied: | Y | N |
| --- | --- | --- | --- | --- |
| Project Code: |  | CIR Number: |  |  |
| Extent of Application: | All Space Types |  |  |  |
| Objectives: | Demonstrate that airborne contaminants do not give rise to unacceptable levels of indoor air pollution in the normally occupied spaces and monitor indoor air quality issues continuously. |  |  |  |
| Credit Requirement: | - Design for good IAQ 1 credit point for providing air treatment methods, i.e. sizable standalone air purifier or exhaust system to indoor pollution source areas, such as photocopy rooms/ kitchen/ bathrooms/ locations where significant indoor pollutant is generated. 1 credit point for demonstrating that the fresh air louvre is at least 15m from exhaust air louvre. Alternatively, • 1 credit point for providing sizable standalone air purifier to normally occupied spaces. 1 Bonus credit point if all air handling units serving the assessment boundary are equipped with UV-C lighting for air-stream disinfection. - IAQ Measurement 2 credit points for submitting an IAQ Certification Scheme (Good Class) certificate of the assessment boundary endorsed by an accredited IAQ CIB. 1 additional Bonus credit point for submitting an IAQ Certification Scheme (Excellent Class) certificate of the assessment boundary endorsed by an accredited IAQ CIB. - Continuous IAQ Monitoring 1 to 2 credit points for installing a real-time monitor for every 500m2 and at least one (1) per floor to measure at least two (2)/ four (4) of the following parameters in a normally occupied or common space within the assessment boundary: List of Parameters. PM2.5 or PM10; CO2; Total VOCs; Formaldehyde. Nitrogen dioxide; Ozone; Carbon monoxide. Measurements are taken at an interval of no longer than 10 minutes for particulate matter and carbon dioxide and no longer than 1 hour for other pollutants. 1 additional Bonus credit point for setting up a notification system to inform the occupants if any of the above monitored parameters fail to meet the IAQ (Good Class) requirements of IAQ certification scheme. |

| Credit Point(s) Attainable: | 6 + 3 Bonus |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Credit Point(s) anticipated for this submission: | (a) Design for good IAQ |  | 1 |  |  |
|  |  |  | 2 |  |  |
|  |  |  | 1 + 1 Bonus |  |  |
|  |  |  | 2 + 1 Bonus |  |  |
|  | (b) IAQ Measurement |  | 2 |  |  |
|  |  |  | 2 + 1 Bonus |  |  |
|  | (c) Continuous IAQ Monitoring |  | 1 |  |  |
|  |  |  | 2 |  |  |
|  |  |  | 1 + 1 Bonus |  |  |
|  |  |  | 2 + 1 Bonus |  |  |
|  | Total: |  | Credit Point(s) + |  | Bonus |

| COMPLIANCE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (a) Design for good IAQ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | The following air treatment method(s) is/ are implemented in indoor pollution source areas, such as photocopy rooms / kitchen / bathrooms / locations where significant indoor pollutant is generated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Sizable standalone air purifier |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Independent exhaust system |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Other (please specify): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Shortest separation distance between fresh air louvre and exhaust air louvre is |  |  |  |  |  |  |  |  |  |  |  |  | meters |  |  |
|  | Sizable standalone air purifiers are provided to normally occupied spaces |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | All air handling units serving the assessment boundary are equipped with UV-C lighting for air-stream disinfection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (b) IAQ Measurement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IAQ Certification Scheme report of the assessment boundary endorsed by an accredited IAQ Certification Issuing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Body (CIB) with the following class: |  |  |  |  |  | Good |  |  |  |  | Excellent |  |  |  |  |
| (c) Continuous IAQ Monitoring |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Real-time monitor(s) is/ are installed for every 500m2 and at least 1 per floor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | The following monitored parameters are measured by the monitor(s) within the assessment boundary |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | PM2.5 or PM10 |  |  | Carbon dioxide |  |  |  | Carbon monoxide |  |  |  |  |  | Ozone |  |
|  |  | Nitrogen dioxide |  |  | Total VOCs |  |  |  | Formaldehyde |  |  |  |  |  |  |  |
|  | A Notification system is set up to inform the occupants if any of the above monitored parameters fail to meet the IAQ (Good Class) requirements of IAQ certification scheme |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SUBMITTALS

| Supporting Documents Please provide below softcopies with filename prefix as indicated on leftmost column. |  |  |
| --- | --- | --- |
| (a) Design for good IAQ |  |  |
| HWB-03-05a_00 | BEAM Plus Interiors submission form for HWB-03-05a | ¨ |
| HWB-03-05a_01 | HVAC schedule | ¨ |
| HWB-03-05a_02 | HVAC drawings showing the location of the fresh air louvre and exhaust air louvre | ¨ |
| HWB-03-05a_03 | Narrative demonstrating compliance with the separation distance between fresh air louvre and exhaust air louvre |  |
| HWB-03-05a_04 | Narrative demonstrating the compliance with the appropriate use and area coverage of air purifier used |  |
| HWB-03-05a_05 | Catalogue(s) of air purifiers being used | ¨ |
| HWB-03-05a_06 | Schedule of air treatment methods being used and corresponding indoor air pollutants that have been tackled | ¨ |
| HWB-03-05a_07 | Catalogue(s) of all the air treatment methods being used | ¨ |
| HWB-03-05a_08 | Specification of UV-C lighting |  |
| HWB-03-05a_09 | Photo record(s) of all air handling units serving the assessment boundary are equipped with UV-C lighting |  |
| (b) IAQ Measurement |  |  |
| HWB-03-05b_00 | BEAM Plus Interiors submission form for HWB-03-05b |  |
| HWB-03-05b_01 | IAQ certificate issued by IAQ Information Centre |  |
| HWB-03-05b_02 | Submission record to IAQ Information Centre for the issuance of IAQ certificate |  |
| (c) Continuous IAQ Monitoring |  |  |
| HWB-03-05c_00 | BEAM Plus Interiors submission form for HWB-03-05c |  |
| HWB-03-05c_01 | Layout plan with the locations of all IAQ monitors within the assessment boundary |  |
| HWB-03-05c_02 | Specification of IAQ monitors used |  |
| HWB-03-05c_03 | Photo record(s) of all the IAQ monitors within the assessment boundary |  |
| HWB-03-05c_04 | Narrative showing the communication protocol between the notification system and the occupants |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)