| Project Name: |  | CIR Applied: | Y | N |
| --- | --- | --- | --- | --- |
| Project Code: |  | CIR Number: |  |  |
| Extent of Application: | All Space Types |  |  |  |
| Objectives: | Ensure that the specified thermal comfort conditions can be achieved under conditions of normal occupancy. |  |  |  |
| Credit Requirement: | 1 credit point for demonstrating that the assessment boundary meets the 80% acceptability limit on any one day during the selected hottest month from reference weather data file. The determination of the 80% acceptability limit should refer to ASHRAE 55-2020. The results shall demonstrate compliance with the prescribed design criteria within the prescribed limits, for a minimum of 80% of the prescribed locations. Alternatively, - 1 credit point for demonstrating the air temperature within the project space is ±1.5°C of the set temperature when the air side system is operating at steady state under normal occupied periods. 1 credit point for providing thermal zones with the maximum size as 60m2 or one (1) per ten (10) occupants, whichever is larger. |  |  |  |

| Credit Point(s) Attainable: | 2 |  |  |  |
| --- | --- | --- | --- | --- |
| Credit Point(s) anticipated for this submission: |  | 1 |  | 2 |

| COMPLIANCE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | The assessment boundary could meet the 80% acceptability limit on any one day during the selected hottest month from reference weather data file as referring to ASHRAE 55-2020 |  |  |  |  |  |
|  | Air temperature within the project space is ±1.5°C of the set temperature when the air side system is operating at steady state under normal occupied periods |  |  |  |  |  |
|  | Thermal zone is provided with the maximum size of |  | m2 or one per |  | occupants |  |

SUBMITTALS

| Supporting Documents Please provide below softcopies with filename prefix as indicated on leftmost column. |  |  |
| --- | --- | --- |
| HWB-03-06_00 | BEAM Plus Interiors submission form for HWB-03-06 | ¨ |
| HWB-03-06_01 | Thermal comfort simulation report | ¨ |
| HWB-03-06_02 | Thermal comfort measurement report | ¨ |
| HWB-03-06_03 | Report of thermal zones setting compliance | ¨ |
| HWB-03-06_04 | Layout plan showing the seating arrangement |  |
| HWB-03-06_05 | HVAC drawings |  |
| HWB-03-06_06 | HVAC schedule | ¨ |
| HWB-03-06_07 | HVAC specification | ¨ |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)