| Project Name: |  | CIR Applied: | Y | N |
| --- | --- | --- | --- | --- |
| Project Code: |  | CIR Number: |  |  |
| Extent of Application: | All Space Types |  |  |  |
| Objectives: | Promote indoor lighting design which is comfortable for occupants’ indoor activities. |  |  |  |
| Credit Requirement: | - Colour Rendering Index 1 credit point for all electric lightings with Colour Rendering Index (CRI) of 80 or above within the assessment boundary. - Unified Glare Rating 1 credit point for demonstrating that the following Unified Glare Rating (UGR) requirements with reference to BSI Light and lighting – Lighting of work places can be achieved. UGR Value; Application. 16; Technical drawing room. 19; Office, Conference room, Classroom, Lecture hall, Ward, Laboratory Library, Hotel, Clinic. 22; Common space, Cafeterias & restaurant, Retail space, Industrial space for fine work, Gymnasium, Staff room. 25; Average industrial work, Circulation space and corridor. 28; Heavy industrial work. - Smart Lighting Control 1 credit point for having smart lighting control with controllable lighting that enable the occupants to adjust the lighting level to meet their needs. |

| Credit Point(s) Attainable: | 3 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Credit Point(s) anticipated for this submission: |  | 1 |  | 2 |  | 3 |

| COMPLIANCE |  |  |  |
| --- | --- | --- | --- |
| (a) Colour Rendering Index |  |  |  |
|  | All electric lightings with CRI of 80 or above within the assessment boundary |  |  |
| (b) Unified Glare Rating |  |  |  |
|  | UGR(s) of project space(s) conform(s) to BEAM Plus requirement. (Please specify below) |  |  |
|  | Project space type | UGR value |  |
| (c) Smart Lighting Control |  |  |  |
|  | Lighting system has smart control systems with controllable lighting function, i.e. change of colour or dimming of lighting with an electronic panel |  |  |

SUBMITTALS

| Supporting Documents Please provide below softcopies with filename prefix as indicated on leftmost column. |  |  |
| --- | --- | --- |
| (a) Colour Rendering Index |  |  |
| HWB-03-07a_00 | BEAM Plus Interiors submission form for HWB-03-07a | ¨ |
| HWB-03-07a_01 | Lighting layout plan | ¨ |
| HWB-03-07a_02 | Light fitting schedule | ¨ |
| HWB-03-07a_03 | Catalogue(s) or other supporting documents showing the colour rendering index of the lighting system |  |
| (b) Unified Glare Rating |  |  |
| HWB-03-07b_00 | BEAM Plus Interiors submission form for HWB-03-07b |  |
| HWB-03-07b_01 | Lighting layout plan |  |
| HWB-03-07b_02 | Light fitting schedule |  |
| HWB-03-07b_03 | Catalogue(s) or other supporting documents showing the unified glare rating of the light fitting |  |
| HWB-03-07b_04 | Measurement report |  |
| HWB-03-07b_05 | Modelling report |  |
| (c) Light dimming |  |  |
| HWB-03-07c_00 | BEAM Plus Interiors submission form for HWB-03-07c |  |
| HWB-03-07c_01 | Narrative showing the smart lighting control |  |
| HWB-03-07c_02 | Light fitting schedule |  |
| HWB-03-07c_03 | Catalogue(s) or other supporting documents of the lighting system | ¨ |
| HWB-03-07c_04 | Photo record(s) showing the smart lighting control | ¨ |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)