| Project Name: |  |  |  | PA submission |  | FA submission |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Project Code: |  |  |  |  |  |
|  |  |  | CIR Applied |  | Y |  | N |  |
|  |  |  | CIR Number |  |  |  |  |  |
| Extent of Application: | All DC |  |  |  |  |  |  |
| Objectives: | Ensure that ventilation systems are not contaminated from construction activities. |  |  |  |  |  |  |
| Credit Requirement: | 1 credit point for implementing a Construction IAQ Management Plan, undertaking a building ‘flush out’ or ‘bake out’, and replacement of all filters prior to occupancy. |  |  |  |  |  |  |
| Credit(s) Attainable: |  | 1 |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |

| COMPLIANCE |  |
| --- | --- |
|  | A Construction IAQ Management Plan will be*/ is prepared. |
|  | Construction IAQ Management Plan will be*/ is implemented during indoor construction. |
|  | “Flush out” or “bake out” will be*/ is carried out prior to occupancy |
|  | All filters will be*/ are replaced prior to occupancy |
| Note: * applicable to PA stage submission only |  |

SUBMITTALS

| IDCM-02-04 Construction IAQ Management |  |  |  |
| --- | --- | --- | --- |
| Supporting Documents |  | PA | FA |
| IDCM-02-04_00 | BEAM Plus NDC submission template for IDCM-02-04 |  |  |
| IDCM-02-04_01 | Construction IAQ Management Plan for indoor construction within the site | * |  |
| IDCM-02-04_02 | Any 3 monthly report(s) on the implementation of the Construction IAQ Management Plan during indoor construction period [or] Extracts of tender documents, (e.g. specifications) specifying the requirements for the implementation of the Construction IAQ Management Plan (if applicable) | * | - |
| IDCM-02-04_03 | Report on filter replacement and flush out [or] Extracts of tender documents (e.g. specifications) specifying the requirements for filter replacement and flush out (if applicable) | * | - |
| IDCM-02-04_04 | HVAC drawings to demonstrate if any central air-conditioning and ventilation system is provided (to substantiate exemption for a building ‘flush out’ or ‘bake out’ and replacement of all filters prior to occupancy) |  |  |
| * Evidence of compliance with credit requirements for construction (superstructure) works started not less than 3 months prior to PA (first submission) shall be submitted in PA. |  |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)