| Project Name: |  | Project Code: |  |
| --- | --- | --- | --- |

| Pedestrian-oriented transport planning measures |  | Point | Provision applicable? |  | Provisions will be*/ provided? |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Safe Environment |  | Yes | No | Yes | No |
|  | Segregation between main pedestrian pathways and vehicular traffic for private cars/ taxis within the Site if there is no speed limit or the targeted speed is higher than 20 km/h. | 1 |  |  |  |  |
|  | [or] |  |  |  |  |  |
|  | Vehicular traffic calming measures adopted and speed limit signs provided for a speed of no more than 20 km/h for over 50% of roads within the Site. | 1 |  |  |  |  |
|  | [or] |  |  |  |  |  |
|  | Vehicular traffic calming measures adopted and speed limit signs provided for a speed of no more than 20 km/h for 100% of roads within the Site. | 2 |  |  |  |  |
|  | Whole length of main pedestrian access pathways to be overlooked from any normally occupied spaces of buildings within or outside the site. | 1 |  |  |  |  |
|  | Lighting of the illuminance of all pedestrian pathways within the site is at least 50 lux. | 1 |  |  |  |  |
|  | Safe Environment |  | Yes | No | Yes | No |
|  | Short and direct pathways as compared to vehicular access/ pathways. | 1 |  |  |  |  |
|  | Minimised level changes for pathways meeting recommended design requirements of barrier-free access in Chapter 4 of BFA 2008. | 1 |  |  |  |  |
|  | Widths of street furniture and greening zones along main pedestrian pathways meeting recommended widths by Table 9 of HKPSG Chapter 8. | 1 |  |  |  |  |
|  | Widths for main pedestrian pathways meeting recommended widths by Table 9 of HKPSG Chapter 8. | 1 |  |  |  |  |
|  | Clear and easily understood wayfinding signage is sited prominently and in predictable locations within the Site. | 1 |  |  |  |  |
|  | Pleasant Environment |  | Yes | No | Yes | No |
|  | Car parking spaces not exceeding minimum requirement from government, excluding parking for shuttle service vehicles. | 1 |  |  |  |  |
|  | [or] |  |  |  |  |  |
|  | No car parking is provided other than provisions intended for use by people with a disability and for shuttle service vehicles. | 2 |  |  |  |  |
|  | Planting zone of a minimum width of 1 m along main pedestrian pathways. |  |  |  |  |  |
|  | Main pedestrian pathways under covered or shaded by trees. |  |  |  |  |  |
|  | Pedestrian pathways designed with high architectural/ landscape quality, with design features intended for human delight/ celebration of culture or public art. |  |  |  |  |  |
| Total numbers of applicable points |  | : |  |  |  | points |
| Total numbers of points achieved |  | : |  |  |  | points |
| Percentage achieved |  | : |  |  |  | % |