| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |
| Extent of Application: | All DC |  |  |  |  |  |
| Objectives: | Encourage proactive design techniques to reduce the nuisance caused to the neighbours by noise from building services equipment. |  |  |  |  |  |
| Credit Requirement: | 1 credit point for demonstrating that the level of the intruding noise at the facade of potential noise sensitive receivers is in compliance with the criteria recommended in the Technical Memorandum for the Assessment of Noise from Places Other than Domestic Premises, Public Places or Construction Sites. |  |  |  |  |  |

| Credit(s) Attainable | 1 |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

Please describe the sensitive receiver(s) of the project by checking the box with .

|  | Out of the site boundary and within the Assessment Area | Assessment at Facade | Assessment at nearby location (require 5dB(A) lower than ANL) | Required Acceptable Noise Level (ANL) / dB(A) |  | Resultant ANL by calculation*/ measurement |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Day | Night | Day | Night |
| Domestic Premises |  |  |  |  |  |  |  |
| Hotel/ Hostel/ Temporary Housing Accommodation |  |  |  |  |  |  |  |
| Hospital/ Medical clinic |  |  |  |  |  |  |  |
| Educational institution |  |  |  |  |  |  |  |
| Place of public worship |  |  |  |  |  |  |  |
| Library |  |  |  |  |  |  |  |
| Court of law |  |  |  |  |  |  |  |
| Performing arts Centre |  |  |  |  |  |  |  |
| A piece of vacant land with no available information to verify |  |  |  |  |  |  |  |
| Other premises or place that identified by EPD to be the sensitive receiver: __________________________ |  |  |  |  |  |  |  |

Note: * applicable to PA stage submission only

SUBMITTALS

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| SS-01-05_00 | BEAM Plus NDC submission template for SS-01-05 |  |  |
| SS-01-05_01 | Layout plans indicating the location of the major noise sources and NSR’s location and corresponding distance |  |  |
| SS-01-05_02 | Endorsed noise prediction/ assessment report |  |  |
| SS-01-05_03 | Equipment catalogue showing the sound power level of equipment |  |  |
| SS-01-05_04 | Outline zoning plan to show the planned development(s) around the project site |  |  |
| SS-01-05_05 | CV of the professional as described in credit requirement |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)