| Project Name: |  |  |  |  |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Project Code: |  |  |  |  |
|  |  |  |  |  |  | CIR Applied |  | Y |  | N |
|  |  |  |  |  |  | CIR Number |  |  |  |  |
| Extent of Application: |  | Whole Building Data Centre Development with a site area of 1,000 m2 or more. |  |  |  |  |  |  |  |  |
| Objectives: |  | Encourage a high standard of stormwater management to reduce risk of flooding and promote groundwater recharge. |  |  |  |  |  |  |  |  |
| Credit Requirement: |  | 1 credit point for demonstrating that adequate stormwater management design measures have been provided to cater the total volume of runoff for one hour corresponding to a design rainfall of at least 30mm/event for the site in its post-developed conditions. 1 additional Bonus credit point for the adopted measures that are able to cater at least 40mm/event for the site in its post-developed conditions. |  |  |  |  |  |  |  |  |
| Credit(s) Attainable: |  |  | 1 + 1 Bonus |  |  |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |  |  |  |
| COMPLIANCE |  |  |  |  |  |  |  |  |  |  |
|  | Volume of stormwater detention storage will be*/ is provided |  |  | : |  |  |  | m3 |  |  |
|  | The above measure caters for a design rainfall of (in its post-developed conditions) |  |  | : |  |  |  | mm/event ≥ 30mm/event |  |  |
|  | Stormwater detention storage caters for a design rainfall of 40mm/event will be*/ is provided. |  |  |  |  |  |  |  |  |  |

SUBMITTALS

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| SS-04-01_00 | BEAM Plus NDC submission template for SS-04-01 |  |  |
| SS-04-01_01 | Report for stormwater management with a summary of volume/ area calculations, layout drawings and typical construction details/sections of infiltration measures |  |  |
| SS-04-01_02 | Catalogue and test report of surfaces/ substrates (if alternative runoff coefficients are used) |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)