| Project Name: |  |  |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Project Code: |  |  |  |  |
|  |  |  |  | CIR Applied |  | Y |  | N |
|  |  |  |  | CIR Number |  |  |  |  |
| Extent of Application: |  | Whole Building Data Centre Developments. |  |  |  |  |  |  |
| Objectives: |  | Encourage reviewing the impact of projected climate change scenario on the building development and consider strategies to improve climate resilience. |  |  |  |  |  |  |
| Credit Requirement: |  | 1 Bonus credit point for studying the projected variation in temperature and rainfall and water level rise/ storm surge of adjacent water bodies due to climate change and its impact on the development and prepare mitigation proposal to improve the climate resilience of the building. 1 additional Bonus credit point for including quantitative calculation to support the resilience design which is technically eligible and cost effective. |  |  |  |  |  |  |
| Credit(s) Attainable: |  |  | 2 Bonus |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |  |
| COMPLIANCE |  |  |  |  |  |  |  |  |
|  | 3 negative issues caused by the projected variations which will have impacts on the building will be*/ identified. |  |  |  |  |  |  |  |
|  | 1 or more climate resilience strategy for each of the identified negative issue will be*/ is proposed. |  |  |  |  |  |  |  |
|  | Quantitative calculation to support the resilience design which is technically eligible and cost effective. |  |  |  |  |  |  |  |

SUBMITTALS

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| SS-04-02_00 | BEAM Plus NDC submission template for SS-04-02 |  |  |
| SS-04-02_01 | Climate resilience proposal |  | # |
| # The supporting documents are not required in FA if the Bonus / additional Bonus credit(s) is/are achieved in PA |  |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)