| Project Name: |  |  |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Project Code: |  |  |  |  |
|  |  |  |  | CIR Applied |  | Y |  | N |
|  |  |  |  | CIR Number |  |  |  |  |
| Extent of Application: | All Building Equipment & insulation servicing the Assessed DC. |  |  |  |  |  |  |  |
| Objectives: | Reduce the release of harmful ozone-depleting substances into the atmosphere. |  |  |  |  |  |  |  |
| Credit Requirement: | (a) Refrigerants 1 credit point for the use of refrigerants with a value less than or equal to the threshold of the combined contribution to ozone depletion and global warming potentials using the specified equation. (b) Ozone depleting materials 1 credit point for the use of products in the building fabric and services that avoid using ozone depleting substances in their manufacture, composition or use. |  |  |  |  |  |  |  |
| Credit(s) Attainable: |  |  | 2 |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |  |

| COMPLIANCE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | MW-02-03a Refrigerants |  |  |  |  |  |
|  |  | Combined contributions to ozone depletion and global warming potentials |  |  |  |  |
|  |  | [ Σ (LCGWP + LCODP x 105) x Qunit ] / Qtotal : | : |  |  | ≤ 13 |
|  | MW-02-03b Ozone Depleting Materials |  |  |  |  |  |
|  |  | Use no building fabric/ services using ozone depleting substances in their manufacture, composition or use |  |  |  |  |

SUBMITTALS

- Refrigerants

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MW-02-03a_00 | BEAM Plus NDC submission template for MW-02-03a |  |  |
| MW-02-03a _01 | Specifications specifying the use of refrigerants |  |  |
| MW-02-03a _02 | Endorsed Air-conditioning and Refrigeration Equipment Worksheet |  |  |
| MW-02-03a _03 | CV of the professional as per the requirements in the assessment |  |  |
| MW-02-03a _04 | Equipment schedule of HVAC&R equipment showing the refrigerants employed |  |  |
| MW-02-03a _05 | Catalogues of HVAC&R equipment showing the refrigerants employed |  |  |
| MW-02-03a _06 | Catalogues of refrigerants or statement from manufacturer demonstrating that the products are free from CFC and HCFC |  |  |

- Ozone depleting materials

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MW-02-03b _00 | BEAM Plus New DCs submission template for MW-02-03b with Ozone Depleting Materials Worksheet endorsed by the main contractor |  |  |
| MW-02-03b _01 | Specifications specifying the use of insulation materials |  |  |
| MW-02-03b _02 | Endorsed summary table with insulation material details, manufacturer, blowing agent and fire retardant |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)