| Project Name: |  |  |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Project Code: |  |  |  |  |
|  |  |  |  | CIR Applied |  | Y |  | N |
|  |  |  |  | CIR Number |  |  |  |  |
| Extent of Application: | All DCs |  |  |  |  |  |  |  |
| Objectives: | Encourage to use green products that have low environmental impact. |  |  |  |  |  |  |  |
| Credit Requirement: | (a) Certified green products 1 or 2 credit points for having at least 5% certified green products in 1 or 2 of the listed categories (i.e., outside surface works, building façade and structures, interior non-structural components, and building services components). 1 or 2 additional Bonus credit points for having at least 5% or 25% of certified green products under Construction Industry Council (CIC) Green Product Certification in 1 of the listed categories (outside surface works, building façade and structures, interior non-structural components, and building services components). (b) Rapidly renewable materials 1 or 2 Bonus credit points for 5% or 25% of all building materials/ products of interior non-structural components in the project is rapidly renewable materials. |  |  |  |  |  |  |  |
| Credit(s) Attainable: |  |  | 2 + 4 Bonus |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |  |

| COMPLIANCE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | MW-02-05a Certified Green Products |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | List (I) Outside surface works |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | - Pavement Block |  | : |  | %≥ 5%; | - Stone (Natural/ Artificial) |  |  |  | : |  |  |  | %≥ 5%; |
|  |  | - Paint & Coating |  | : |  | %≥ 5%; |  |  |  |  |  |  |  |  |  |
|  |  | - Other (if any, please specify) |  |  |  |  |  |  |  |  | : |  |  |  | %≥ 5%; |
|  |  | List (II) Building façade and structures |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | - Cement |  | : |  | %≥ 5%; | - Reinforcing bar |  |  |  | : |  |  |  | %≥ 5%; |
|  |  | - Structural steel |  | : |  | %≥ 5%; | - Glazing |  |  |  | : |  |  |  | %≥ 5%; |
|  |  | - Extruded aluminium product |  | : |  | %≥ 5%; |  |  |  |  |  |  |  |  |  |
|  |  | - Other (if any, please specify) |  |  |  |  |  |  |  |  | : |  |  |  | %≥ 5%; |
|  |  | List (III) Interior non-structural components (pick at least 5) |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Panel board | : |  | %≥ 5%; |  | Ceramic tile |  |  | : |  |  |  | %≥ 5%; |
|  |  |  | Plant-based fibre composite | : |  | %≥ 5%; |  | Furniture |  |  | : |  |  |  | %≥ 5%; |
|  |  |  | Stone (Natural/ Artificial) | : |  | %≥ 5%; |  | Wall covering |  |  | : |  |  |  | %≥ 5%; |
|  |  |  | Paint & Coating |  |  | %≥ 5%; |  |  |  |  |  |  |  |  |  |
|  |  |  | Adhesive & sealant | : |  | %≥ 5%; |  | Block for internal partition |  |  | : |  |  |  | %≥ 5%; |
|  |  |  | Synthetic carpet | : |  | %≥ 5%; |  | Thermal insulation |  |  | : |  |  |  | %≥ 5%; |
|  |  |  | Other (if any, please specify) |  |  |  |  |  |  |  | : |  |  |  | %> 5%; |
|  |  | List (IV) Building services components |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Lighting & electrical installation |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - LED Lighting | : |  | %≥ 5%; | - CFL |  |  |  | : |  |  |  | %≥ 5%; |
|  |  |  | - Electronic ballast | : |  | %≥ 5%; | - Cable & wire |  |  |  | : |  |  |  | %≥ 5%; |
|  |  |  | - Other (if any, please specify) |  |  |  |  |  |  |  | : |  |  |  | %> 5%; |
|  |  |  | Air-conditioning systems |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - Chiller | : |  | %≥ 5%; | - VRF spilt type system |  |  |  | : |  |  |  | %≥ 5%; |
|  |  |  | - AHU | : |  | %≥ 5%; | - FCU |  |  |  | : |  |  |  | %≥ 5%; |
|  |  |  | - Cooling tower | : |  | %≥ 5%; |  |  |  |  |  |  |  |  |  |
|  |  |  | - Other (if any, please specify) |  |  |  |  |  |  |  | : |  |  |  | %≥ 5%; |
|  |  |  | Plumbing & drainage |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - Water pump | : |  | %≥ 5%; | - Sanitary- ceramic product |  |  |  | : |  |  |  | %≥ 5%; |
|  |  |  | - Other (if any, please specify) |  |  |  |  |  |  |  | : |  |  |  | %> 5%; |

| - 5% or more of every item list in one of the listed categories are certified green products under Construction Industry Council (CIC) Carbon Labelling Scheme/ HKGBC Green Product Accreditation and Standards (HK G-PASS) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | No |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Yes, ≥ 5% are certified green products under CIC/ HK-GASS) for List |  | (I) |  |  | (II) |  |  | (III) |  |  |  | (IV) |
| - 25% or more of every item list in one of the listed categories are certified green products under Construction Industry Council (CIC) Carbon Labelling Scheme/ HKGBC Green Product Accreditation and Standards (HK G-PASS) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | No |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Yes, ≥ 25% are certified green products under CIC/ HK-GASS) for List |  | (I) |  |  | (II) |  |  | (III) |  |  |  | (IV) |
|  | MW-02-05b Rapidly Renewable Materials List rapidly renewable materials: __________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Total cost/ mass/ volume of all building materials/ products of interior |  |  |  |  |  | : |  |  |  |  |  |  |  |  |
| - Total cost/ mass/ volume of building materials/ products of interior made from rapidly renewable materials |  |  |  |  |  | : |  |  |  |  |  |  |  |  |
| - Percentage of building materials/ products of interior made from rapidly renewable materials |  |  |  |  |  | : |  |  |  |  |  |  | %> 5%; |  |
| - 25% or more of building materials/ products of interior made from rapidly renewable materials |  |  |  |  |  |  |  |  | Yes |  |  |  | No |  |

SUBMITTALS

- Certified green products

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MW-02-05a_00 | BEAM Plus DCs submission template for MW-02-05a |  |  |
| MW-02-05a_01 | Calculation sheet on materials used for: Outside Surface Works; and/ or Building Façade and Structures; and/ or Interior Non-structural Components; and/ or Building Services Components |  |  |
| MW-02-05a_02 | Specifications specifying the use of green products |  |  |
| MW-02-05a_03 | Drawings showing the provision |  |  |
| MW-02-05a_04 | Certificate(s) of the green products |  |  |
| Remarks: Photo records of installed certified green products shall be kept and submitted for assessment upon request. |  |  |  |

- Rapidly renewable materials

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MW-02-05b_00 | BEAM Plus NDC submission template for MW-02-05b |  |  |
| MW-02-05b_01 | Calculation sheet on rapidly renewable materials used for interior non-structural components |  |  |
|  | with endorsement from the main contractor |  |  |
| MW-02-05b_02 | Specifications specifying the rapidly renewable materials |  |  |
| MW-02-05b_03 | Drawings showing the provision |  |  |
| MW-02-05b_04 | Supporting documents the rapidly renewable materials |  |  |
| Remarks: Photo records of installed rapidly renewable materials shall be kept and submitted for assessment upon request. |  |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)