| Project Name: |  |  |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Project Code: |  |  |  |  |
|  |  |  |  | CIR Applied |  | Y |  | N |
|  |  |  |  | CIR Number |  |  |  |  |
| Extent of Application: | All DC Part (b) is applicable only when Municipal Solid Waste Charging Scheme is activated. |  |  |  |  |  |  |  |
| Objectives: | To encourage best practice for the management of waste, including sorting, recycling and disposal of waste |  |  |  |  |  |  |  |
| Credit Requirement: | (a) Additional Recyclables Collection 1 credit point for the provision of facilities for collection, sorting, storage and disposal of 2 other recyclable streams in addition to those described in MW-00-P1. (b) Additional Facility Provisions to Enable enhanced Municipal Solid Waste (MSW) Charing Scheme 1 credit point for additional facilities for collection, sorting, storage and disposal of recyclables in addition to those described in MW-00-P1 and MW-03-02 part (a). (c) Waste Treatment Equipment 1 Bonus credit point for providing at least one set of waste treatment equipment. (d) Alternatives to Recycling Facilities 1 Bonus credit point for providing alternative means of waste collection systems. |  |  |  |  |  |  |  |
| Credit(s) Attainable: |  |  | 2 + 2 Bonus |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |  |

| COMPLIANCE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | MW-03-02a Additional Recyclables Collection |  |  |  |  |
|  |  | Apart from prescribed recyclables in MW P1, additional provision of facilities for collection, sorting, storage and disposal will be*/ provided for |  |  |  |
|  |  |  | Food waste |  | Yard waste |
|  |  |  | Other (if any, please specify) |  |  |

|  | MW-03-02b Additional Recycling Facility Provisions |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Total area of recycling facility provision |  |  |  |  |  |  | : |  |  |  |  |  | m2 |  |
| - Prescribed area provision under MW-00-P1 |  |  |  |  |  |  | : |  |  |  |  |  | m2 |  |
| - Additional recycling facility provisions |  |  |  |  |  |  | : |  |  |  |  |  | m2 |  |
|  | MW-03-02c Onsite Waste processing facilities |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Static waste compactors or balers; situated in a service area or dedicated waste management space |  |  |  |  |  |  |  | Yes |  |  | No |  |  | N/A |
| - Vessels for composting suitable organic waste resulting from the building's daily operation and use; OR adequate space for storing segregated food waste and compostable organic material prior to collection and delivery to an alternative composting facility |  |  |  |  |  |  |  | Yes |  |  | No |  |  | N/A |
| - Where organic waste is to be stored or composted on site, a water outlet is provided adjacent to or within the facility for cleaning and hygiene purposes. |  |  |  |  |  |  |  | Yes |  |  | No |  |  | N/A |
|  | MW-03-02d Alternatives to Recycling Facilities |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Alternatives to recycling facilities will be*/provided |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Automated waste collection systems |  | Separate chutes for different waste types |  |  |  |  |  |  |  |  |  |
|  |  |  | Other (if any, please specify) |  |  |  |  |  |  |  |  |  |  |  |

SUBMITTALS

- Additional recyclables collection

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MW-03-02a_00 | BEAM Plus NDC submission template for MW-03-02 |  |  |
| MW-03-02a_01 | Operational Waste Management Plan |  |  |
| MW-03-02a_02 | Drawings showing the locations of all waste handling facilities with indications of additional recyclable collections |  |  |
| MW-03-02a_03 | Master layout plan or extract(s) of the General Building Plan to substantiate the exemption from the requirements of this credit head |  |  |

- Additional Facility Provisions to Enable enhanced Municipal Solid Waste (MSW) Charing Scheme

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MW-03-02b_00 | BEAM Plus NDC submission template for MW-03-02 |  |  |
| MW-03-02b_01 | Operational Waste Management Plan |  |  |
| MW-03-02b_02 | Drawings showing the locations of all waste handling facilities with indications of the additional recycling facility provision to enable MSW charging |  |  |
| MW-03-02b_03 | Specification of the additional recycling/ design features for enabling the MSW charging scheme |  |  |
| MW-03-02b_04 | As-built information of the additional recycling/ design features for enabling the MSW charging scheme |  |  |
| MW-03-02b_05 | Master layout plan or extract(s) of the General Building Plan to substantiate the exemption from the requirements of this credit |  |  |

- Waste treatment equipment

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MW-03-02c_00 | BEAM Plus NDC submission template for MW-03-02 |  |  |
| MW-03-02c_01 | Operational Waste Management Plan |  |  |
| MW-03-02c_02 | Drawings showing the locations of all waste handling facilities with indications of the waste processing facilities |  |  |
| MW-03-02c_03 | Calculation to justify the waste processing facilities achieve the credit required target |  |  |
| MW-03-02c_04 | Catalogues/ information of the waste processing facilities |  |  |

- Alternatives to recycling facilities

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MW-03-02d_00 | BEAM Plus NDC submission template for MW-03-02 |  |  |
| MW-03-02d_01 | Operational Waste Management Plan |  |  |
| MW-03-02d_02 | Drawings showing the locations of all waste handling facilities with indications of the alternative recycling facilities |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)