| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC |
| --- | --- |

| Objective | To establish the minimum level of energy performance for the building services systems |
| --- | --- |

| Requirement | Demonstrate (a) performance against the latest edition of Building Energy Code (BEC) and (b) Maximum Power Usage Effectiveness (PUE) - Performance against the latest edition of BEC Demonstrate compliance with the latest edition of BEC on: - Air-conditioning equipment efficiency (full load COP and 75% load for VSD equipment); and - Lighting power density for listed space type in the code. - Maximum Power Usage Effectiveness (PUE) The data centre must have a design PUE at full IT load condition of no more than 2.0. |
| --- | --- |

Please check the applicable box with .

| Is the prerequisite achieved? | Y | N |
| --- | --- | --- |

COMPLIANCE

Please complete EU-P1-1_Form and confirm the compliance with  in the below table.

| a) Performance improvement against the latest edition of Building Energy Code (BEC) |  |
| --- | --- |
|  | Air-conditioning Equipment Efficiency – Minimum COP Compliance |
|  | Lighting Installation Efficiency – Maximum LPD Compliance |
| b) Maximum Power Usage Effectiveness (PUE) |  |
|  | The data centre must have a design PUE at full IT load condition of no more than 2.0. Design PUE value at fill IT Load condition: __________________________________ |

SUBMITTALS

(a) Performance against the latest edition of BEC

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| EU-00-P1_00 | BEAM Plus NDC submission template for EU-00-P1 |  |  |
| EU-00-P1_01 | Summary of energy performance for air-conditioning equipment; and/or Summary of energy performance for indoor lighting |  |  |
| EU-00-P1_02 | Air-conditioning system equipment schedule, air-side and water-side schematic drawings highlighting all the air-conditioning equipment |  |  |
| EU-00-P1_03 | Air-conditioning equipment and lighting specifications |  |  |
| EU-00-P1_04 | Catalogue of air-conditioning equipment highlighting the COP at full load; and Lighting schedule with luminaire |  |  |
| EU-00-P1_05 | E&M layout drawing highlighting the space type |  |  |
| EU-00-P1_06 | Space area schedule |  |  |

(b) Maximum Power Usage Effectiveness (PUE)

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| EU-00 -P1_00 | BEAM Plus NDC submission template for EU-00-P1 |  |  |
| EU-00-P1_07 | Endorsed Building Energy Simulation Report |  |  |
| EU-00-P1_08 | CV of the professional as per requirements in the assessment |  |  |
| EU-00-P1_09 | Input and Output Simulation Summary |  |  |
| EU-00-P1_10 | Supporting documents for input, based on project development status, including: - OTTV calculation sheet based on the requirements of Buildings Department for proposed case; - Indoor design criteria from project team highlighting indoor thermal condition, occupancy density, fresh air flow rate requirement, internal load, equipment load and ventilation rate; - System and equipment specifications (for PA) and schedules (and catalogues) (PA and FA): - All air-conditioning equipment highlighting COP, cooling/ heating capacity, input power, flow rate, etc., as well as energy recovery appliance highlighting efficiency; - All lift and escalator highlighting capacity, motor power and energy saving control system - All water heater (if applicable) highlighting installed power; - All ventilation fans highlighting input power and flow rate; - All lighting fixtures highlighting designed space-specified LPD and/or input lighting power; - Design IT Equipment Loads; and - Other system (e.g. on-site renewable energy system) highlighting the key energy performance parameters - Pre-input calculation for modelling (if any), including but not limited to: - Simplified Fan Power input; and - Lighting Power Density. - Exceptional calculation; - Schematics drawings for building services systems; and - Layout plan for building services systems (optional for PA). |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)