| Project Name: |  | Project Code: |  |
| --- | --- | --- | --- |

Please fill in the below table and check the applicable boxes with :

Part 1: Basic Information

| Project Location |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Number of building in application |  |  |  |  |  |
| Software to be used |  |  |  |  | Validation report provided |
| Design IT Load | Full Load: |  |  | 75% IT Load: |  |
| Project Percentage of New Construction (%) |  |  |  |  |  |
| For Major Renovation Project, indicate the item to be renovated | Envelope |  | All Partly* None |  |  |
|  | HVAC System |  | All Partly* None |  |  |
|  | Lighting System |  | All Partly* None |  |  |
|  | Lift System |  | All Partly* None |  |  |
|  | Other: _________ |  | All Partly* None |  |  |

*Supporting document is provided to indicate the renovated portion.

Part 2: Input Summary – Envelope

| Model Parameter |  | New / Existing | Associated to Residential / Non-residential space | Baseline Case |  |  | Proposed Case |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Description | Insulation R-value | Assembly U-factor/ C-factor / F-factor | Description | Insulation R-value | Assembly U-factor/ C-factor / F-factor |
| Opaque |  |  |  |  |  |  |  |  |  |
| Roofs |  |  |  |  |  |  |  |  |  |
| Roof SRI |  |  |  |  |  |  |  |  |  |
| Roof Reflectivity |  |  |  |  |  |  |  |  |  |
| Walls - Above Grade |  |  |  |  |  |  |  |  |  |
| Walls - Below Grade |  |  |  |  |  |  |  |  |  |
| Floors |  |  |  |  |  |  |  |  |  |
| Opaque doors |  |  |  |  |  |  |  |  |  |

| Model Parameter |  | New / Existing | Associated to Residential / Non-residential space | Baseline Case |  |  | Proposed Case |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Fenestration |  |  |  |  |  |  |  |  |  |  |
| OTTV / RTTV |  |  |  | Podium | Tower |  | Podium |  | Tower |  |
| - Building 1 |  |  |  |  |  |  |  |  |  |  |
| - Building 2 |  |  |  |  |  |  |  |  |  |  |
| - Building 3 |  |  |  |  |  |  |  |  |  |  |
| - Building 4 |  |  |  |  |  |  |  |  |  |  |
| External Shading (Overhangs) |  |  |  | No Shading shall be modelled in baseline case |  |  | Elevation Orientation (N/E/S/W) |  | Shading Depth (mm) (N/E/S/W) |  |
| - Building 1 |  |  |  | N/A |  |  |  |  |  |  |
| - Building 2 |  |  |  | N/A |  |  |  |  |  |  |
| - Building 3 |  |  |  | N/A |  |  |  |  |  |  |
| - Building 4 |  |  |  | N/A |  |  |  |  |  |  |
| External Shading (Fins) |  |  |  | No Shading shall be modelled in baseline case |  |  | Elevation Orientation (N/E/S/W) |  | Shading Depth (mm) (N/E/S/W) Fins separation (mm) |  |
| - Building 1 |  |  |  | N/A |  |  |  |  |  |  |
| - Building 2 |  |  |  | N/A |  |  |  |  |  |  |
| - Building 3 |  |  |  | N/A |  |  |  |  |  |  |
| - Building 4 |  |  |  | N/A |  |  |  |  |  |  |
| Window to Wall Ratio (N/E/S/W) |  |  |  | Podium (N/E/S/W) | Tower (N/E/S/W) |  | Podium (N/E/S/W) |  | Tower (N/E/S/W) |  |
| - Building 1 |  |  |  |  |  |  |  |  |  |  |
| - Building 2 |  |  |  |  |  |  |  |  |  |  |
| - Building 3 |  |  |  |  |  |  |  |  |  |  |
| - Building 4 |  |  |  |  |  |  |  |  |  |  |
| Skylight Ratio |  |  |  |  |  |  |  |  |  |  |
| - Building 1 |  |  |  |  |  |  |  |  |  |  |
| - Building 2 |  |  |  |  |  |  |  |  |  |  |
| - Building 3 |  |  |  |  |  |  |  |  |  |  |
| - Building 4 |  |  |  |  |  |  |  |  |  |  |
| Fenestration (Vertical) |  |  |  | Shading Coefficient (SC) | U-Value | VLT | Shading Coefficient (SC) | U-Value |  | VLT |
| - Building 1 |  |  |  |  |  |  |  |  |  |  |
| - Building 2 |  |  |  |  |  |  |  |  |  |  |
| - Building 3 |  |  |  |  |  |  |  |  |  |  |
| - Building 4 |  |  |  |  |  |  |  |  |  |  |
| Skylight |  |  |  | Shading Coefficient (SC) | U-Value | VLT | Shading Coefficient (SC) | U-Value |  | VLT |
| - Building 1 |  |  |  |  |  |  |  |  |  |  |
| - Building 2 |  |  |  |  |  |  |  |  |  |  |
| - Building 3 |  |  |  |  |  |  |  |  |  |  |
| - Building 4 |  |  |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |  |  |

Part 3: Input Summary – Internal Load

| Location |  |  | Ventilation Load |  |  | Lighting Load |  | Equipment Load |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Building 1 | Space Use | Area (m2) | Ventilation Mode | Outdoor Air Ventilation Rate (AC mode) |  |  |  |  |  |
|  |  |  |  | Baseline (L/s) | Proposed (L/s) | Baseline (W/m2) | Proposed (W/m2) | Baseline (W/m2) | Proposed (W/m2) |
|  |  |  | AC NV |  |  |  |  |  |  |
|  |  |  | AC NV |  |  |  |  |  |  |
|  |  |  | AC NV |  |  |  |  |  |  |
|  |  |  | AC NV |  |  |  |  |  |  |
|  |  |  | AC NV |  |  |  |  |  |  |
|  |  |  | AC NV |  |  |  |  |  |  |

Part 3 Input Summary – Air Side

| Location | Baseline Case |  |  | Proposed Case |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Building 1 | System Type 1 | System Type 2 | System Type 3 | System Type 1 | System Type 2 | System Type 3 |
| System Type |  |  |  |  |  |  |
| System Served |  |  |  |  |  |  |
| For Window Type / Split Type |  |  |  |  |  |  |
| - Cooling Efficiency |  |  |  |  |  |  |
| - Heating Efficiency |  |  |  |  |  |  |
| For All Air System |  |  |  |  |  |  |
| - Supply Air Temperature (oC) |  |  |  |  |  |  |
| - Total Supply Airflow Rate (L/s) |  |  |  |  |  |  |
| - Total Outdoor Airflow Rate (L/s) |  |  |  |  |  |  |
| - Demand Control Ventilation |  |  |  |  |  |  |
| - Air Economizer Control |  |  |  |  |  |  |
| - Supply Air Temperature Reset |  |  |  |  |  |  |
| - Heat Recovery Effectiveness |  |  |  |  |  |  |
| - Supply Fan Power (W) |  |  |  |  |  |  |
| - Return Fan Power (W) |  |  |  |  |  |  |
| - Exhaust Fan Power (W) |  |  |  |  |  |  |

Part 4 Input Summary – Water Side

| Location | Baseline Case | Proposed Case |
| --- | --- | --- |
| Building 1 |  |  |
| Cooling Plant Equipment |  |  |
| - Number of Chiller, Type x Capacity(kW) ¦ COP ¦ IPLV |  |  |
| - Chiller water Supply Temperature |  |  |
| - Chiller water Temperature Different |  |  |
| - Chiller water supply temperature reset |  |  |
| - Chiller loop Configuration |  |  |
| - Number of Primary Chiller Pumps, Type x Power (kW) ¦ Efficiency ¦ Pump Flow |  |  |
| - Chiller Water Pump Control |  |  |
| - Number of Secondary Chiller Pump, Type x Power (kW) ¦ Efficiency ¦ Pump Flows |  |  |
| Heating Plant Equipment |  |  |
| - Number of Boiler, Type x Capacity(kW) ¦ COP ¦ IPLV |  |  |
| - Hot water Supply Temperature |  |  |
| - Hot water Temperature Different |  |  |
| - Hot water supply temperature reset |  |  |
| - Hot loop Configuration |  |  |
| - Number of Primary Hot Pumps, Type x Power (kW) ¦ Efficiency ¦ Pump Flow |  |  |
| - Hot Water Pump Control |  |  |
| - Number of Secondary Hot Pump, Type x Power (kW) ¦ Efficiency ¦ Pump Flows |  |  |
| Heat Rejection |  |  |
| - Number of Cooling Towers, Type x Capacity (kW) |  |  |
| - Condenser Water Temperature |  |  |
| - Number of Condensing Water Pump x Power (kW) |  |  |
| - Condensing Water Pump Flow |  |  |
| - Condensing Water Pump Control |  |  |

Part 4 Basic Information – Miscellaneous

| Model Input Parameter | Baseline Case | Proposed Case |
| --- | --- | --- |
| Escalators and Elevators |  |  |
| Exterior Lighting System |  |  |
| Service Hot Water |  |  |
| Other |  |  |