| Project Name: |  |  |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Project Code: |  |  |  |  |
|  |  |  |  | CIR Applied |  | Y |  | N |
|  |  |  |  | CIR Number |  |  |  |  |
| Extent of Application: | All DC |  |  |  |  |  |  |  |
| Objectives: | Encourage the adoption of green DC best practices to achieve better energy-efficiency DCs |  |  |  |  |  |  |  |
| Credit Requirement: | - Best Practices for Major Controls 1 to 3 credit points for incorporating at least 2 best practices under each of the following aspect in the Green DC Practice Guide published by BEAM Society Limited: - Cooling System; - Air Flow Management; - Operating at Higher Temperature and Humidity; - Cooling Management; and - Power System. - Best Practices for Other Controls 2 credit points for incorporating at least 6 best practices across the following aspects as listed in the Green DC Practice Guide published by BEAM Society Limited: - Design of Resilience; - Monitoring and Managing Energy Efficiency; - IT Equipment Deployment; - IT Application System and IT Service Deployment; and - Telecommunications and Network Cabling. |  |  |  |  |  |  |  |
| Credit(s) Attainable: |  |  | 5 |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |  |

| COMPLIANCE - Best Practices for Major Controls Please provide a brief summary of the adopted best practices on the following aspects: |  |
| --- | --- |
|  | Cooling System: |
|  | Air Flow Management: |
|  | Operating at Higher Temperature and Humidity: |
|  | Cooling Management: |
|  | Power System: |

- Best Practices for Other Controls

Please provide a brief summary of the adopted best practices on the following aspects:

|  | Design of Resilience: |
| --- | --- |
|  | Monitoring and Managing Energy Efficiency: |
|  | IT Equipment Deployment: |
|  | IT Application System and IT Service Deployment |
|  | Telecommunications and Network Cabling |

SUBMITTALS

|  |  | PA | FA |
| --- | --- | --- | --- |
| EU-04-01_00 | BEAM Plus NDC submission template for EU-04-01 |  |  |
| EU-04-01_01 | Technical report summarising the adopted best practice |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)