| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC with potable tank room(s) |
| --- | --- |

| Objective | To identify water leakage once detected for the arrangement of maintenance work |
| --- | --- |

| Credit Requirement | 1 credit point for installing water leakage detection systems in all municipal potable water tank rooms and data halls. |
| --- | --- |

| Credit(s) Attainable | 1 |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

Please complete WU-01-04-Form.

Please confirm that the following requirements are met by checking the box with .

| The detection systems should have the capability to alert the operation station or the security station and identify the room with leakage when leakage is detected. |  |
| --- | --- |

SUBMITTALS

| Supporting Documents. |  | PA | FA |
| --- | --- | --- | --- |
| WU-01-04_00 | BEAM Plus New DCs submission template for WU-01-04 with WU-01-04_Form |  |  |
| WU-01-04_01 | Drawing(s) highlighting the provisions of water leakage detection systems in all water tank rooms and data halls OR showing that there are no potable water tank rooms in the DC if this credit is deemed to be not applicable. |  |  |
| WU-01-04_02 | BMS drawings or other form of supporting (e.g., catalogue, manufacturer's information, etc.) |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)