| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC with cooling tower using potable water as make up water. |
| --- | --- |

| Objective | To reduce potable water consumption for cooling tower makeup. |
| --- | --- |

| Credit Requirement | 1 credit point for reducing fresh water consumption by installing water treatment system which can achieve minimum 7 cycles of concentration with acceptable water quality. 1 additional Bonus credit point for 8 or more cycles of concentration with acceptable water quality. |
| --- | --- |

| Credit(s) Attainable | 1 + 1 Bonus |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

Please complete WU-01-06-Form.

For FA submission only:

Please confirm that the following requirement is met by checking the box with .

| The cooling water quality is approved by EMSD. |  |
| --- | --- |

SUBMITTALS

| Supporting Document |  | PA | FA |
| --- | --- | --- | --- |
| WU-01-06_00 | BEAM Plus NDC submission template for WU-01-06 |  |  |
| WU-01-06_01 | Water treatment proposal highlighting the design cycles of concentration |  |  |
| WU-01-06_02 | Specifications of cooling tower, water treatment equipment and make-up water pumps |  |  |
| WU-01-06_03 | Catalogues of cooling tower, water treatment equipment and make-up water pumps |  |  |
| WU-01-06_04 | MVAC schematic drawings showing: The fresh water cooling tower(s) with designation [or] No fresh water cooling tower is installed for the project (Substantiation for non-applicability) |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)