| Project Name: |  | Project Code: |  |
| --- | --- | --- | --- |

Please fill in the below table for harvested rainwater.

| Sample set |  |  | 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Collection tank designation on schematic |  |  |  |  |  |  |  |  |
| Tank location |  |  |  |  |  |  |  |  |
| Parameter | Unit | Recommended water quality standards |  |  |  |  |  |  |
| E. coli | cfu /100 ml | Non detectable |  |  |  |  |  |  |
| Total residual chlorine | mg/l | ≥ 1 exiting treatment system |  |  |  |  |  |  |
| Total residual chlorine | mg/l | ≥ 0.2 at user end |  |  |  |  |  |  |
| Dissolved oxygen in reclaimed water | mg/l | ≥ 2 |  |  |  |  |  |  |
| Total suspended solids (TSS) | mg/l | ≤ 5 |  |  |  |  |  |  |
| Colour | Hazen unit | ≤ 20 |  |  |  |  |  |  |
| Turbidity | NTU | ≤ 5 |  |  |  |  |  |  |
| pH | / | 6 - 9 |  |  |  |  |  |  |
| Threshold Odour Number (TON) | / | ≤ 100 |  |  |  |  |  |  |
| 5-day Biochemical oxygen demand (BOD5) | mg/l | ≤ 10 |  |  |  |  |  |  |
| Ammoniacal nitrogen | mg/l as N | ≤ 1 |  |  |  |  |  |  |
| Synthetic detergents | mg/l | ≤ 5 |  |  |  |  |  |  |