| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DCs |
| --- | --- |

| Objective | Encourage harvesting of rainwater and recycling of grey water in order to reduce consumption of potable water. |
| --- | --- |

| Credit Requirement | (a) Harvested Rainwater 1 credit point for harvesting of rainwater that achieves a reduction of 5% or more in the consumption of potable water. (b) Recycled Grey Water 1 credit point for recycling grey water that achieves a reduction of 5% or more in the consumption of potable water. (c) Exemplary water recycling 1 additional Bonus credit point where (a) harvested rainwater, (b) recycled grey water or a combination of both leads to a reduction of 10% or more in the consumption of potable water. |
| --- | --- |

| Credit(s) Attainable | 2 + 1 Bonus |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

(a) Harvested rainwater

Please complete WU-03-01-1_Form and fill in the below table.

| Annual potable water replaced by harvested rainwater (L) |  |
| --- | --- |
| Annual potable water use for irrigation (L) – figure should be consistent with WU-01-02 design case, excluding manual irrigation and before deducting any reused / recycled water |  |
| Annual potable water use for irrigation and flushing (L) – figure should be consistent with WU 7 before deducting any reused / recycled water |  |
| Annual potable water use for water features, car washing, external cleaning, fire-fighting and industrial processes (only if harvested rainwater is used for the activity) (L) |  |
| Percentage reduction in potable water use replaced by harvested rainwater (%) |  |

Please confirm that the following requirement is met by checking the box with .

| All collection tank(s) has sufficient capacity. |  |
| --- | --- |

For FA submission only:

Please complete WU-03-01-2_Form.

Please confirm that the following requirement is met by checking the box with .

| The harvested rainwater, after treatment, meet the recommended water quality standards prescribed in Table 1-1 in the WSD Technical Specifications. |  |
| --- | --- |

(b) Recycled grey water

Please complete WU-03-01-3_Form and fill in the below table.

| Annual potable water replaced by recycled grey water (L) |  |
| --- | --- |
| Annual potable water use for irrigation (L) – figure should be consistent with W-01-0 2 design case, excluding manual irrigation and before deducting any reused / recycled water |  |
| Annual potable water use for irrigation and flushing (L) – figure should be consistent with WU 7 before deducting any reused / recycled water |  |
| Annual potable water use for water features, car washing, external cleaning, fire-fighting and industrial processes (only if recycled grey water is used for the activity) (L) |  |
| Percentage reduction in potable water use replaced by recycled grey water (%) |  |

Please confirm that the following requirement is met by checking the box with .

| All collection tank(s) has sufficient capacity. |  |
| --- | --- |

For FA submission only:

Please complete WU-03-01-4_Form.

Please confirm that the following requirement is met by checking the box with .

| The recycled grey water, after treatment, meet the recommended water quality standards prescribed in Table 1-1 in the WSD Technical Specifications. |  |
| --- | --- |

(c) Exemplary water recycling

Please fill in the below table.

| Annual potable water replaced by harvested rainwater (L) |  |
| --- | --- |
| Annual potable water replaced by recycled grey water (L) |  |
| Annual potable water use for irrigation (L) – figure should be consistent with WU-01-02 design case, excluding manual irrigation and before deducting any reused / recycled water |  |
| Annual potable water use for irrigation and flushing (L) – figure should be consistent with WU 7 before deducting any reused / recycled water |  |
| Annual potable water use for water features, car washing, external cleaning, fire-fighting and industrial processes (only if harvested rainwater and/or recycled grey water is used for the activity) (L) |  |
| Percentage reduction in potable water use replaced by harvested rainwater and/or recycled grey water (%) |  |

SUBMITTALS

- Harvested rainwater

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| WU-03-01a_00 | BEAM Plus NDC submission template for WU-03-01 |  |  |
|  | Calculation of Yield and Demand for Harvested Rainwater; |  |  |
|  | Information of Collection Tanks for Rainwater Harvesting; |  |  |
|  | Water Quality Measurement for Rainwater Harvesting System |  |  |
| WU-03-01a_01 | Calculation of reduction in demand of potable water from rainwater harvesting system (with breakdown of yield and demand by each end use, as well as details of input parameters/ assumptions) |  |  |
| WU-03-01a_02 | Landscape plan including the total landscape area (distinguish between communal greenery and private garden if applicable) and area break- down according to irrigation method or controller used |  |  |
| WU-03-01a_03 | Catchment area plan including area break-down, type of surface and surface coefficient adopted |  |  |
| WU-03-01a_04 | Plumbing schematic drawing(s) and plumbing layout drawings |  |  |
| WU-03-01a_05 | Rainwater harvesting system schematic drawing(s) |  |  |
| WU-03-01a_06 | Specification for provision of water quality testing methodology, measurement and report |  |  |
| WU-03-01a_07 | Water quality measurement report |  |  |
| WU-03-01a_08 | Product catalogues of surfaces/ substrates to substantiate the run-off coefficient (if non-default value is used) |  |  |
| WU-03-01a_09 | Product catalogue of the in-line filter highlighting the efficiency (if non-default value is used) |  |  |
| WU-03-01a_10 | Calculation demonstrating sufficient tank (or retention pond) storage capacity for harvested rainwater |  |  |

- Recycled grey water

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| WU-03-01b_00 | BEAM Plus NDCs submission template for WU-03-01 |  |  |
|  | Calculation of Yield and Demand for Recycled Grey Water |  |  |
|  | Information of Collection Tanks for Recycled Grey Water |  |  |
|  | Water Quality Measurement for Grey Water Recycling System |  |  |
| WU-03-01b_01 | Calculation of reduction in demand of potable water from grey water system (with breakdown of yield and demand by each end use as well as details of input parameters/ assumptions)) |  |  |
| WU-03-01b_02 | Plumbing schematic drawing(s) and plumbing layout drawings, highlighting the grey water recycling system |  |  |
| WU-03-01b_03 | Specification for provision of water quality testing methodology, measurement and report |  |  |
| WU-03-01b_04 | Water quality measurement report |  |  |
| WU-03-01b_05 | Calculation demonstrating sufficient tank storage capacity for recycled grey water |  |  |

- Exemplary water recycling

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| WU-03-01c_00 | BEAM Plus NDC submission template for WU-03-01c |  |  |
|  | Calculation of Yield and Demand for Harvested Rainwater (if applicable); |  |  |
|  | Calculation of Yield and Demand for Recycled Grey Water (if applicable); |  |  |
|  | Information of Collection Tanks for Rainwater Harvesting (if applicable); |  |  |
|  | Information of Collection Tanks for Recycled Grey Water (if applicable); |  |  |
|  | Water Quality Measurement for Rainwater Harvesting System (if applicable); |  |  |
| WU-03-01c_01 | Calculation of reduction in demand of potable water from rainwater harvesting system (with breakdown of yield and demand by each end use as well as details of input parameters/ assumptions) |  |  |
| WU-03-01c_02 | Landscape plan including the total landscape area (distinguish between communal greenery and private garden if applicable) and area break- down according to irrigation method or controller used |  |  |
| WU-03-01c_03 | Catchment area plan including area break-down, type of surface and surface coefficient adopted |  |  |
| WU-03-01c_04 | Calculation of reduction in demand of potable water from grey water system (with breakdown of yield and demand by each end use as well as details of input parameters/ assumptions) |  |  |
| WU-03-01c_05 | Plumbing schematic drawing (s) and plumbing layout drawings, highlighting the rainwater harvesting system and the grey water recycling system (if applicable) |  |  |
| WU-03-01c_06 | Specification for provision of water quality testing methodology, measurement and report |  |  |
| WU-03-01c_07 | Water quality measurement report |  |  |
| WU-03-01c_08 | Product catalogues of surfaces/ substrates to substantiate the run-off coefficient (if non-default value is used) |  |  |
| WU-03-01c_09 | Product catalogue of the in-line filter for the rainwater harvesting system highlighting the efficiency (if non-default value is used) |  |  |
| WU-03-01c_10 | Calculation demonstrating sufficient tank (or retention pond) storage capacity for harvested rainwater (if applicable) |  |  |
| WU-03-01c_11 | Calculation demonstrating sufficient tank storage capacity for recycled grey water (if applicable) |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)