| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DCs |
| --- | --- |

| Objective | To support water management and to provide opportunity to reduce the water use by tracking the water consumption records on different water systems. |
| --- | --- |

| Credit Requirement | 1 credit point for provision of permanent smart water meter for cooling towers water use and indoor plumbing fixtures and fittings, and at least 2 of the other water systems, which are able to display metered data, treading of water consumption and relevant parameters. |
| --- | --- |

| Credit(s) Attainable | 1 |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

Please fill in the below table.

| Compulsory Provision: |  |
| --- | --- |
|  | Provision of permanent smart water meters for cooling towers water use |
|  | Provision of permanent smart water meters for Indoor plumbing fixtures and fitting |
| At least two of the following water sub-system: |  |
|  | Irrigation (if applicable) |
|  | Cleansing |
|  | Water features/ pools |
|  | Other process water, please specify: __________________________________ |

|  | The smart meters is able to display metered data, trending of water consumption and relevant parameters, and with data logging capability/ connected to Building Management System (BMS). |
| --- | --- |

SUBMITTALS

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| WU-04-01_00 | BEAM Plus NDC submission template for WU-04-01 |  |  |
| WU-04-01_01 | Technical Report detailing description of the water metering system. |  |  |
| WU-04-01_02 | Plumbing schematic diagrams and layout drawings highlighting all location of water meter |  |  |
| WU-04-01_03 | Specification of all metering and measurement equipment |  |  |
|  | Catalogues of all metering and measurement equipment |  |  |
| WU-04-01_04 | On-site photographs of the water meters |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)