| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All normally occupied spaces in DC, except the naturally ventilated spaces |
| --- | --- |

| Objective | Assess the quality of on-site outdoor air and demonstrate that a minimum quantity of outdoor air is supplied to all normally occupied spaces in the project in order to safeguard the health and comfort of building users. |
| --- | --- |

| Requirement | - On-site Outdoor Air Quality Measure outdoor air pollutants on-site prior to building design to understand the site conditions. - Minimum Ventilation Demonstrate the project is in compliance with the minimum ventilation quantity in relation to its designed ventilation mode. |
| --- | --- |

Please check the applicable box with .

| Is the prerequisite achieved? | Y | N |
| --- | --- | --- |

COMPLIANCE

(a) On-site outdoor air quality

Please complete Form HWB-00-P1a.

(b) Minimum Ventilation

Please complete Form HWB-00-P1b.

SUBMITTALS

- On-site Outdoor Air Quality

| Supporting Documents. |  | PA | FA |
| --- | --- | --- | --- |
| HWB-00-P1a_00 | BEAM Plus NDC submission template for HWB-00-P1a with Summary of On-site Outdoor Air Quality Measurement |  | # |
| HWB-00-P1a_01 | Rectifying plan describing the design of air purification strategies if air quality is not achieved |  | # |
| HWB-00-P1a_02 | HKIAS endorsed report showing measurements of all required outdoor air pollutants |  | # |
| # The supporting document(s) is/ are not required in FA if the credit(s) is/ are achieved in PA. |  |  |  |

- Minimum Ventilation

| Supporting Documents Please provide softcopies with filename prefix as indicated on leftmost column below. |  | PA | FA |
| --- | --- | --- | --- |
| HWB-00-P1b_00 | BEAM Plus NDC submission template for HWB-00-P1b |  |  |
| HWB-00-P1b_01 | Summary of Ventilation Performance |  |  |
| HWB-00-P1b_02 | Schedule of all spaces present in the building |  |  |
| HWB-00-P1b_03 | Report demonstrating compliance with the minimum ventilation rate stipulated in ASHRAE Standard 62.1-2019 in all mechanically ventilated normally occupied spaces |  |  |
| HWB-00-P1b_04 | MVAC fan schedule, air side schematics |  |  |
| HWB-00-P1b_05 | MVAC layout plan |  |  |
| HWB-00-P1b_06 | Technical Data |  |  |
| HWB-00-P1b_07 | Layout Drawing showing the location and size of the fresh air louvre(s); and Fresh Air Calculation (applicable to projects where fresh air equipment is NOT provided by the project proponent) |  |  |
| HWB-00-P1b_08 | Declaration Letter endorsed by the project proponent declaring that the project will NOT be provided with fresh air equipment and only louvre(s) for fresh air intake will be provided OR Tenant Guideline specifying the recommended amount of fresh air to be provided into the indoor space (applicable to projects where fresh air equipment is NOT provided by the project proponent) |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)