| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC |
| --- | --- |

| Objective | Maintain effective ventilation and prevent exposure to concentrated indoor pollutant sources to support occupants’ health and wellbeing |
| --- | --- |

| Credit Requirement | Fresh air provision in normally occupied spaces 1 credit point for demonstrating that all normally occupied spaces in the DC are provided with increased ventilation. Fresh air provision in not normally occupied spaces 1 credit point for demonstrating that all not normally occupied spaces in the DC are provided with adequate ventilation. On-site Measurements 1 additional Bonus credit point for conducting on-site measurements to verify the ventilation performance for all normally occupied spaces. |
| --- | --- |

| Credit(s) Attainable | 2 + 1 Bonus |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

Fresh air provision

(i) Fresh air provision in normally occupied spaces

Please complete Form HWB-03-01a.

(ii) Fresh air provision in not normally occupied spaces

Please complete Form HWB-03-01b.

(iii) On-site measurements

For PA submission only:

Please confirm that the following requirement is met by checking the box with .

| A measurement protocol which includes the proposed measurement locations and methodology is prepared. |  |
| --- | --- |

For FA submission only:

Please complete Form HWB-03-01c.

SUBMITTALS

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| HWB-03-01_00 | BEAM Plus NDC submission template for HWB-03-01 |  |  |
| HWB-03-01_01 | Summary of Fresh Air Provision in Normally Occupied Spaces |  |  |
| HWB-03-01_02 | Summary of Fresh Air Provision in Not Normally Occupied Spaces |  |  |
| HWB-03-01_03 | Schedule of all spaces present in the building |  |  |
| HWB-03-01_04 | Mechanical Ventilation Report |  |  |
| HWB-03-01_05 | MVAC fan schedule and air side schematics |  |  |
|  | MVAC equipment catalogue |  |  |
| HWB-03-01_06 | MVAC layout plan |  |  |
| HWB-03-01_07 | Specification on provision of measurement methodology, measurement and report |  |  |
| HWB-03-01_08 | Measurement methodology |  |  |
| HWB-03-01_09 | Measurement results |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)