| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC |
| --- | --- |

| Objective | Demonstrate that airborne contaminants do not give rise to unacceptable levels of air pollution in the DCs. |
| --- | --- |

| Credit Requirement | Demonstrate compliance in one of the following paths: - Option 1 2 credits for demonstrating compliance with the prescribed limits for Carbon monoxide (CO), Nitrogen dioxide (NO2), Ozone (O3), Carbon dioxide (CO2), Respirable suspended particulates (PM10), Total volatile organic compounds (TVOCs), Formaldehyde (HCHO) and Radon (Rn) in the sampled occupied spaces. 1 credit for demonstrating compliance with the prescribed limits for Airborne bacteria and conduct the Mould assessment in the sampled occupied spaces. - Option 2 3 credits for submitting a valid IAQ Certification Scheme (Good Class) certificate issued by the Environmental Protection Department (EPD) covering the whole building. 1 additional BONUS credit for achieving Excellent Class. |
| --- | --- |

| Credit(s) Attainable | 3 + 1 Bonus |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

Indoor air quality in occupied spaces

Please check the applicable box with .

The credit is achieved via:

Path 1

Path 2

SUBMITTALS

| Supporting Documents. |  | PA | FA |
| --- | --- | --- | --- |
| HWB-03-05_00 | BEAM Plus NDC submission template for HWB-03-05 |  |  |
|  | Summary of Indoor Air Quality Measurement (for Path 1 only) |  |  |
| HWB-03-05_01 | CIB endorsed checklist for Mould Assessment (prescribed checklist in Annex 3 of A Guide on Indoor Air Quality Certification Scheme for Offices and Public Places 2019) (for Path 1 only) |  |  |
| HWB-03-05_02 | Specification requiring a CIB to provide an endorsed IAQ measurement methodology, IAQ measurement and test reports (for Path 1& 2) |  |  |
|  | CIB endorsed IAQ measurement methodology (for Path 1 & 2) |  |  |
| HWB-03-05_03 | CIB endorsed IAQ test reports (for Path 1 & 2) |  |  |
| HWB-03-05_04 | Valid certificate issued by the Environmental Protection Department (EPD) covering the whole building (for Path 2 only) |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)