| Project Name: |  | Project Code: |  |
| --- | --- | --- | --- |

Please fill in the below table.

| / | / | / | Parameter | Carbon monoxide (CO) | Nitrogen dioxide (NO2) | Ozone (O3) | Respirable suspended particulates (PM10) | Carbon dioxide (CO2) | Total volatile organic compounds (TVOC) | Formaldehyde (HCHO) | Radon (Rn) | Airborne bacteria | Mould Growth |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sample Set no. | Location | Space Usage | 8-hour average acceptance limit | <10,000 (µg/m3) or <8.7 (ppmv) | <150 (µg/m3) or <80 (ppbv) | <120 (µg/m3 ) or <61 (ppbv) | <180 (µg/m3) | <1,000 (ppmv) | <600 (µg/m3) or <261 (ppbv) | <100 (µg/m3) or <81 (ppbv) | <200 (Bq/m3) | <1,000 (cfu/m3) | Compliance Checklist |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |