| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All DC |
| --- | --- |

| Objective | Ensure that DCs and systems are tested practicable and the specified thermal comfort conditions can be achieved under conditions of normal occupancy and expected heat gains. |
| --- | --- |

| Credit Requirement | (a) Temperature Performance in Data Halls 1 credit for sustaining the air temperature at the design value within 2.0oC when air side system in data halls is operating at steady state. (b) Temperature Performance in Normally Occupied Areas 1 credit for sustaining the air temperature at the design value within 1.5oC when air side system in normally occupied areas is operating at steady state under normal occupied periods. |
| --- | --- |

| Credit(s) Attainable | 2 |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

- Temperature Performance in Data Halls

Please complete Form HWB-03-06a and confirm that the following requirement is met by checking the box with .

| Thermal Comfort Measurement Methodology is submitted |  |
| --- | --- |
| All data halls can fulfil the thermal comfort requirement* |  |

- Temperature Performance in Normally Occupied Areas

Please complete Form HWB-03-06a and confirm that the following requirement is met by checking the box with .

| Thermal Comfort Measurement Methodology is submitted |  |
| --- | --- |
| All Normally Occupied Areas can fulfil the thermal comfort requirement* |  |

Note: * applicable to FA submission only

SUBMITTALS

(a) Temperature Performance in Data Halls

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| HWB-03-06a_00 | BEAM Plus NDC submission template for HWB-03-06 |  |  |
| HWB-03-06a_01 | Thermal Comfort Measurement Methodology |  |  |
| HWB-03-06a_02 | Endorsed Thermal Comfort Measurement Report |  |  |
| HWB-03-06a_03 | CV of the professional |  |  |

(b) Temperature Performance in Normally Occupied Areas

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| HWB-03-06a_00 | BEAM Plus NDC submission template for HWB-03-06 |  |  |
| HWB-03-06a_01 | Thermal Comfort Measurement Methodology |  |  |
| HWB-03-06a_02 | Endorsed Thermal Comfort Measurement Report |  |  |
| HWB-03-06a_03 | CV of the professional |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)