| Credit Requirement: |  |  | a) Central Heating Ventilation and Air-Conditioning (HVAC) Plant 2 credits for demonstrating the operation of a planned programme of regular inspection and maintenance of central HVAC plant. b) Other Engineering Systems Maximum 4 credits for demonstrating the operation of a planned programme of regular inspection and maintenance of the following listed systems: i. Air-conditioning system except central HVAC plant; ii. Electrical system; iii. Lighting system; and iv. Plumbing and Drainage system. c) Assessment of Operation & Maintenance Practice 1 credit for having undertaken an audit of the effectiveness of the O&M practices for all building services engineering systems. |  |  |
| --- | --- | --- | --- | --- | --- |
| Credit Attainable: |  |  |  | 7 |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |
| Checklist: |  |  |  |  |  |
| ☐ |  | Operation and maintenance of central HVAC plant. |  |  |  |
| ☐ |  | Operation and maintenance of air-conditioning system except central HVAC plant. |  |  |  |
| ☐ |  | Operation and maintenance of electrical system. |  |  |  |
| ☐ |  | Operation and maintenance of lighting system. |  |  |  |
| ☐ |  | Operation and maintenance of plumbing and drainage system. |  |  |  |
| ☐ |  | Assessment of operation and maintenance practice. |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |  |
| Enclosures: |  |  |  |  |  |
| ☐ | Frequencies of cleaning and inspection of the applicable HVAC and other engineering system(s). |  |  |  |  |
| ☐ | Maintenance procedures of the system(s) as stated above. |  |  |  |  |
| ☐ | Personnel that are responsible for the inspection, cleaning and maintenance. |  |  |  |  |
| ☐ | Records of inspection, maintenance and repairs for the past 12 months. |  |  |  |  |
| ☐ | The planned inspection, maintenance and repairs programme for the next 12 months. |  |  |  |  |
| ☐ | Audit report showing the effectiveness of the O&M practice. |  |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |  |