| Credit Requirement: |  | a) Newly and Existing Installed Equipment using Refrigerants 1 credit for all the equipment (both newly purchased and existing) using the refrigerants with Global Warming Potential (GWP) less than 1,900. Alternatively, for equipment with refrigerant GWP value > 1,900, credit can be achieved when the Applicant can demonstrate a phased programme of refrigerant replacement. 1 credit for using refrigerants with a combined value less than or equal to the threshold for the combined contributions to ozone depletion and global warming potentials for all new and existing HVAC&R equipment that under the control of Applicant. b) Fire Suppression Materials 1 credit for using the fire suppression and other materials that avoids the use of ozone depleting substances in their manufacture, composition or use. |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 3 |  |
| Credit(s) anticipated for this submission: |  |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |
| Enclosures: a) Newly and Existing Installed Equipment using Refrigerants |  |  |  |  |
| ☐ | Summary table listing the newly installed equipment, type, model number, refrigerant type. |  |  |  |
| ☐ | Calculation. |  |  |  |
| ☐ | Equipment catalogue/ technical sheets. |  |  |  |
| ☐ | Record photographs. |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |
| b) Fire Suppression Materials |  |  |  |  |
| ☐ | Summary table listing the quantity and type of portable fire extinguishers and fixed fire protection system. |  |  |  |
| ☐ | Equipment catalogue/ technical sheets. |  |  |  |
| ☐ | Phase out plan (for intermediate stage only). |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |