| Credit Requirement: |  | 1 credit for providing sub-metering system for any 3 of the following electrical loads where applicable: i. Chiller plant; ii. Cooling tower plant; iii. Lift; iv. Escalator; v. Lighting; and vi. Plumbing & drainage. 1 credit for having Building Management System (BMS) to log operation data (e.g. pressure, temperature, flow rate, on/ off status) for monitoring operation and function of the system including the following as a minimum: i. Air side; ii. Water side; iii. Cooling load; and iv. Lighting control. |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 2 |  |
| Credit(s) anticipated for this submission: |  |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |
| Enclosures: For Sub-metering System, |  |  |  |  |
| ☐ | Drawings, as-built electrical schematic. |  |  |  |
| ☐ | Manufacturer technical specification, technical data sheets for meter, transducers, and sensors. |  |  |  |
| ☐ | Operation manual. |  |  |  |
| ☐ | Testing and commissioning records. |  |  |  |
| ☐ | Data record samples. |  |  |  |
| ☐ | Record photographs. |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |
| For Building Management System, |  |  |  |  |
| ☐ | Drawings, as-built schematic, point schedule. |  |  |  |
| ☐ | Manufacturer technical specification, technical data sheets for meter, transducers, and sensors. |  |  |  |
| ☐ | Operation manual. |  |  |  |
| ☐ | Testing and commissioning records. |  |  |  |
| ☐ | Record photographs. |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |