| Credit Requirement: |  | 1 credit for installing dual flush for the water closets under the control of the Applicant. 1 credit for installing urinal with WELS Grade 2 or above. |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 2 |  |
| Credit(s) anticipated for this submission: |  |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |
| Enclosures: |  |  |  |  |
| ☐ | Schedule of the water closets and urinals installed. |  |  |  |
| ☐ | Catalogues of the dual flush system and the urinals with flow rate data indicated (if any). |  |  |  |
| ☐ | The WELS certificate. |  |  |  |
| ☐ | On-site photographs of the water efficient flushing system. |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |